Bigelow Laboratory for Ocean Sciences

Radiation Training Manual

Reviewed April 2019 (TP)

I.  Physical Concepts	2

1. Atomic Structure	2

2. Ionizing Radiation	2

3. Energy	2

4. Radioactive Decay	2

5. Alpha Particles	2

6. Beta Particles	2

7. Gamma Rays	3

8. X-rays	3

9. Half-Life	3

10. Units	4

II.  Regulatory Issues and Risk	4

1. Dose Limits	4

2. Risks	5

III.  Administrative Issues	6

1. Regulatory Authority	6

2. Radioactive Materials License	6

3. Radiation Safety Committee	6

4. Radiation Safety Officer	6

5. Radiation Use Authorization	7

6. Senior Research Scientists (named licensees)	7

7. Radiation Workers (authorized users)	7

8. Security	7

9. Dosimeter	7

10. Pregnancy	8

11. Shipping and Receiving	8

12. Sealed Sources	8

IV.  Work Practices	8

1. ALARA	8

2. Signs and Labels	8

3. Personal Protective Equipment (PPE)	9

4. Process Areas	9

5. Monitoring	9

6. Detectors	9

7. Inventory of Radioactive Material	10

V.  Waste Management	10

1. General	10

2. Solid Radioactive Waste	10

3. Liquid Radioactive Waste	10

4. Mixed Hazardous and Radioactive Waste	11

VI.  Incident Response	11

1. Spills	11

2. Personnel Contamination	11

VII. Radioisotope Use At Sea	11

## I.  Physical Concepts

# 1. Atomic Structure

Every atom has a nucleus which is composed of elementary particles, protons and neutrons. The protons possess a positive charge while neutrons have no electrical charge. Orbiting the nucleus are very small negatively charged particles called electrons. Neutral atoms have the same number of positively charged protons as negatively charged electrons. Atoms differ from each other in several ways. Elements are distinguished by the number of protons in the nucleus. Each element possesses physical and chemical properties which are unique to that element. Atoms of the same element may vary from each other by the number of neutrons in the nucleus (e.g., 12C vs. 14C). These elemental variations are called isotopes. They cannot be distinguished from other isotopes of the same element by chemical analysis since they react identically. Another possible difference between atoms is the number of electrons orbiting the nucleus. Since neutral atoms have the same number of electrons as protons, an atom which has a different number of protons and electrons is called an ion and may be either positively or negatively charged.

# 2. Ionizing Radiation

Radiation can either be particles or electromagnetic energy which is emitted or radiated in all directions from a localized source. Two primary types of radiation are ionizing and non-ionizing. Examples of non-ionizing radiation include microwaves, radio waves and visible light. Ionizing radiation is unique in that the emissions are energetic enough to cause ionization by the removal of orbital electrons. The three principal types of ionizing radiation are called alpha, beta and gamma. These three types of radiation are emitted from the nuclei of atoms which are unstable. The transformation to stability is achieved by adjusting the ratio of neutrons to protons within the nucleus of the atom by the emission of particulate radiation. The optimum ratio of neutrons to protons for stability is averaged to be 1.54 to 1.

# 3. Energy

The energy of ionizing radiation is measured in "electron volts." One electron volt (eV) is the energy gained by an electron passing through a one volt potential. One eV is equivalent to 1.6 x 10-19 Joules. One electron volt is an extremely small amount of energy. The amount of energy associated with radioactivity is usually expressed in thousands of electron volts (keV) or millions of electron volts (MeV).

# 4. Radioactive Decay

Radioactive decay is the term used to describe the eventual transformation of radioactive atoms into stable, non-radioactive atoms. As charged particles are emitted, the number of protons and/or neutrons is changed. The resulting atom is called a "daughter product." The daughter may also be radioactive with its own type and energy of emissions. Sometimes a series of decays must happen before a stable atom is produced. This is known as a decay chain. The formula for determining the amount of radioactivity at any time (t) is:  At= A0 e-λt  Where λ = the decay constant for the particular radioisotope. This constant is also equal to ln2/T1/2.

# 5. Alpha Particles

Alpha particles are positively charged helium nuclei (2 protons and 2 neutrons) which are ejected from heavy atoms having a low neutron to proton ratio. Alpha particles are monoenergetic, in that all alpha emissions from like atoms are ejected with the same kinetic energy. Due to the relatively large size and electrical charge, their range and penetrating ability is very small. Consequently, alpha particles do not pose a hazard outside the body. However, if alpha-emitting material is inhaled or ingested, the alpha particles can cause serious harm to live tissue where the material is deposited.

# 6. Beta Particles

Beta particles are energetic electrons emitted from the nuclei of atoms with high neutron to proton ratios. The transformation, which occurs in the nucleus, results in the conversion of a neutron into a proton and the ejection of a beta particle. The energy of the beta particle is not monoenergetic as it is for alphas. The beta particle has a range of possible energies from zero to a maximum possible energy which is unique to the radioisotope. Although beta particles are negatively charged, their very small size allows them to travel considerably farther in air than alphas. The ability of beta particles to penetrate solid materials is still very restricted. Only the most energetic beta particles may penetrate thin sheets of paper or plastic. Beta particles pose a significant internal hazard, and also may pose a small hazard to skin surfaces or to the lens of the eye, depending on their energy. A few radioactive isotopes are known as "pure beta" emitters. They are unique because there is no associated gamma ray directly following beta decay. Some examples of pure beta emitters are 3H, 14C, 35S, and 45Ca. We are licensed for all 4 of these isotopes.

| Isotope | Photon Energy | Half-Life ¦¦ Max Range in Air |  |  |
| --- | --- | --- | --- | --- |
| H-3 | 18.6 keV |  | 12.3 Years | 0.152 Inches |
| C-14 | 155 keV |  | 5,730 Years | 10 Inches |
| S-35 | 167 keV |  | 87.2 Days | 11 Inches |
| Ca-45 | 245 keV |  | 165 Days | 19 Inches |

# 7. Gamma Rays

Gamma rays are essentially light packages or "photons" which are emitted from some unstable atoms which have just undergone a transformation by emitting a charged particle. Depending on the radioisotope, there may be one or several gamma rays emitted with differing energies. In addition the probability or frequency of their emission can vary from 100% to well under 1% as each transformation or decay occurs. Since gamma rays have no mass or charge, their range and penetrating ability are significant. Gammas have no finite range in any medium, but are best attenuated or shielded by dense material. The thickness of shielding material is cited in half value layers. One half value layer is that thickness of material which reduces the amount of radiation by 50%. Gamma rays may be an external hazard as well as an internal hazard.

# 8. X-rays

X-rays are also photons which are capable of causing ionizations and are similar in every way to gamma rays except in their point of origin. Gamma rays are emitted from the nucleus of an atom and x-rays come from the electron orbitals. The most common source of x-rays is from radiation producing machines. Some of the more common x-ray or gamma ray producing radioisotopes are listed below.

| Isotope | Photon Energy | Yield | Half-Life |
| --- | --- | --- | --- |
| Cs-137 | *662 Kev | 90% | 30.17 Years |
| Co-60 | 1.33 & 1.17 Mev | 100% | 5.26 Years |
| I-125 | 27.5 Kev | 73.20% | 60 Days |
| I-131 | 364 Kev | 81.20% | 8.06 Days |

*662 Kev Photon emitted from Daughter product, Ba-137m (2.5 Min half-life)

Another source of x-rays comes from the abrupt change in velocity of beta particles. X rays generated by this process are referred to as "bremstrahlung" (braking radiation). The creation of these x rays is dependent on the atomic number of the absorbing material. The higher the atomic number the greater the likelihood that an x ray will be produced. The energy of the x ray is directly proportional to the atomic number of the absorber and the energy of the beta particle. Due to bremstrahlung, it is preferable to shield high energy beta particles with materials of low atomic number. Plastic or acrylic materials are generally used for beta shields. Although the production of x rays should be minimized, the resultant exposure rate from bremstrahlung is usually insignificant.

# 9. Half-Life

One half-life is the length of time required for the amount of radioactivity present to be reduced by 50%. At each subsequent time interval equaling one half-life, the previous amount of radioactivity is further reduced by half. The half-life can be viewed as the probability of decay. An individual radioactive atom may decay at any time, but for a given quantity of radioactivity, the number of particle emissions per unit time, also referred to as "disintegration rate," will be a constant.  The Effective Half-Life is the ratio of the time it takes a body to excrete half of a substance (T½bio) times the substance’s radioactive half-life (T½rad), divided by (T½bio) plus (T½rad).

(T½bio * T½rad) / (T ½bio + T ½rad)

# 10. Units

A "Curie" (Ci) is a unit of measurement which quantifies the amount of radioactivity present as a disintegration rate. One Curie is referenced as the amount of radioactivity present in 1 gram of radium and is equivalent to 3.7 x 1010 disintegrations per second (DPS).

| Units | DPM | DPS |
| --- | --- | --- |
| 1 Ci. | 2.22E+12 | 3.70E+10 |
| 1 mCi. | 2.22E+09 | 3.70E+07 |
| 1 uCi. | 2.22E+06 | 3.70E+04 |

A “Bequerrel” (Bq) is an international (S.I.) unit which describes how much radioactivity is present. One Bequerrel is a very small amount of radioactivity which is equivalent to 1 disintegration per second. (therefore, 1 Bq = 2.703E-11 Ci, or 1 Ci = 37 MBq)

A "Roentgen" (R) is a unit of measurement which quantifies radiation exposure in air from x-rays or gamma rays only. One Roentgen of exposure provides 2.58 x 104 coulombs of charge per kilogram of air.

A "Rad" is a unit of measurement which quantifies the dosage of energy deposited in any medium from any type of ionizing radiation. One rad is equivalent to 100 ergs of energy deposed per gram of absorbing material. (more specifically, the energy deposited per mass of human tissue)

A "Gray" (Gy) is the S.I. unit for absorbed dose. One Gray is equivalent to 100 rads.

A "Rem" is a unit of measurement also known as "dose equivalent" which numerically describes the relative amount of biological damage which occurs from doses of ionizing radiation. The rem is derived by the product of the dose received in rads and a quality factor which is unique to each type of radiation. This equates the effectiveness of each type of radiation to cause biological damage. The rem is used to report doses to persons or organs.

A "Sievert" (Sv) is the S.I. unit for dose equivalent. One Sievert is equivalent to 100 rems.

## II.  Regulatory Issues and Risk

# 1. Dose Limits

Occupational dose limits are set by the federal government and are cited in Title 10 of the Code of Federal Regulations. The following is a list of the limits for external occupational dose to adult workers.

| Deep Dose Equivalent (DDE) | 5 rems per calendar year |
| --- | --- |
| Lens Dose Equivalent (LDE) | 15 rems per calendar year |
| Shallow Dose Equivalent (SDE) | 50 rems per calendar year |
| Shallow Dose Equivalent Maximum Extremity (SDEME) | 50 rems per calendar year |

Occupational dose limits for minors are limited to 10% of the limits for adult workers.

Dose limits to an embryo or fetus from occupational exposure shall be restricted to 0.5 rems DDE over the term of pregnancy. Fetal or embryonic cells are rapidly dividing and are therefore more radiosensitive and warrant a lower dose limit.

Note: It is strongly recommended that pregnant radiation workers advise the Radiation Safety Officer of their condition when they become aware of it. A workplace evaluation and possible changes in personnel monitoring may be warranted. (See Dosimetry, section F.)

Facilities or institutions in which it is likely that persons would receive 10% of the prescribed limits shall provide individual monitoring devices for those persons. (See Dosimetry.)

Dose limits are determined partially by the varying radio-sensitivity of particular organs or tissues. Tissues which are less differentiated or cells which are rapidly dividing are the most radiosensitive. Other parts of the body which are less radiosensitive, such as the skin or extremities do not warrant as much dose restriction as shown in the limits for shallow dose equivalent.

Radioactive material taken up by the body contributes to the dose received and is directly proportional to the amount of uptake. The amount of radioactive material taken up which results in 5 rems Committed Effective Dose Equivalent (CEDE)* or 50 rems to an organ is called the annual limit on intake (ALI). Due to the differences in the emissions and affinity for particular organs, the ALI varies widely for different radioactive elements. For most radioactive materials used at BLOS the internal hazard far outweighs the hazard outside the body. Therefore, it is very important to avoid practices which may result in an ingestion, inhalation or dermal absorption of radioactive materials.

* Committed Effective Dose Equivalent is that dose to organs or tissues resulting from a single intake for 50 years following the intake multiplied times a weighting factor which proportionalizes the stochastic risk to the total risk of stochastic effects if the whole body were irradiated uniformly. (See the definition of stochastic effects in the following section on risks, as well as Effective Half-Life in section I.9, above)

# 2. Risks

Most of the data used to evaluate risks from exposure to ionizing radiation comes from bomb survivors in Japan and radiation therapy patients.  The following are committees or other organizations involved in the study of biological effects and risks associated with exposure to ionizing radiation. Based on risk estimates, recommendations are made regarding dose limits to members of the general public and those occupationally exposed.

United Nations Scientific Committee on the Effects of Atomic Radiation (UNSCEAR)

The Committee on the Biological Effects of Ionizing Radiation (BEIR)

National Council on Radiation Protection and Measurements (NCRP)

International Commission on Radiological Protection (ICRP)

The Law of Bergonie and Tribideau states that cells which are less differentiated or are rapidly dividing are the most radiosensitive.

Although it is not known precisely what effects there are to biological organisms at low chronic doses of radiation, a conservative perspective should be maintained in an attempt to keep doses "As Low As Reasonably Achievable" (ALARA), see Radiation Safety Manual. Until the effects from low doses of radiation are more defined, the current viewpoint is that there is no threshold dose under which the incidence of cancer cannot be attributable. This perspective is also known as the linear-no-threshold dose model (curve 1). Some scientists believe that the risk drops off to zero at some low dose (curve 3) the threshold effect. The ICRP and NCRP endorse the linear quadratic model as a conservative means of assuring safety (curve 2).

A common sense approach should be to reduce the potential for exposure whenever practical. At higher doses of radiation (25-50 rems), detrimental effects are known to occur. There is a linear dose response at high doses of radiation indicating increases in the occurrence or the severity of induced effects as the dose increases.

There are two types of effects which could result from exposure to ionizing radiation: stochastic and non-stochastic. Stochastic effects are those which are not categorized by their severity but by their incidence. Based on the probability of occurrence, an example of a stochastic effect would be cancer. Non-stochastic effects (also referred to as deterministic) are those effects for which their severity is based on increasing exposure rather than the occurrence. For deterministic effects, a minimum threshold dose must be received before the effect will occur. An example of a non-stochastic effect would be erythema or skin reddening. There is a threshold amount of exposure before non-stochastic effects would occur. For stochastic effects, the conservative perspective assumes no threshold and that any amount of exposure may cause the effect. The goal in radiation safety is to eliminate non-stochastic effects and reduce the incidence of stochastic effects.

Somatic effects are those which are observable in the exposed individual. An example of a somatic effect would be the formation of cataracts in the lens of the eye or blood pH changes.

Teratogenic effects are those which occur to the developing fetus during gestation. Since the fetus is rapidly developing, its radiosensitivity is high.

Mutagenic effects are those which involve the disruption of the base pair sequence in DNA molecules which may result in a genetic defect or mutation. Although the current regulatory position is based on the conservative viewpoint that there is no threshold dose required for such biological aberrations, experimental evidence suggests a repair mechanism corrects what could be point mutations. At very high doses of radiation the repair mechanism becomes inadequate to prevent mutations.

Genetic effects are similar to mutagenic effects but the genetic aberration occurs in one or both of the sex cells which may effect the progeny.

It is implied that by becoming a radiation worker, an acknowledgment exists of the presence of risk. A balance exists between the risks to be accepted versus the benefit of the work. Although limits are in place which should never be exceeded, no individual can determine the acceptability of risk for another. In the evaluation of risk, you should compare the relative risks which are incurred in everyday life to your anticipated use of radioactivity. If you understand what is known about radiation and are willing to use common sense and good judgment, you are likely to conclude your risk from occupational exposure at BLOS to be one of the smallest factors to consider.

A number of studies have been performed in an attempt to quantify the risk of cancer to exposed populations. Numerical estimations of the risk are dependent on differences within the exposed population such as age and sex. Differences in the relative risk are also dependent on the type of radiation, the manner in which it was received and the probability of the particular induced effect (e.g., leukemia vs. tumor formation, etc.). Reasonable estimates of mortality due to cancer from exposure to ionizing radiation range from 3.5 to 8.0 E-4/rem.

Radiation Dose Levels from 14C

By Ingestion: 	20mrem/uCi 14C  =  5.64E-10 Sv/Bq (2.09mrem/uCi for organic compounds)

By Inhalation: 	6.36E-12 Sv/Bq [0.023mrem/uCi] for 14CO2

5.64E-10 Sv/Bq [2.09mrem/uCi] for organic compounds.

## III.  Administrative Issues

# 1. Regulatory Authority

The State of Maine Department of Human Services Radiation Control Program  is granted regulatory authority by the Nuclear Regulatory Commission to oversee the acquisition and use of radioactive materials and radiation producing machines within the state. The Radiation Control Program considers for approval applications for radioactive materials licenses, performs inspections of licensee facilities, and issues citations for points of non-conformance.

# 2. Radioactive Materials License

BLOS has been granted a Radioactive Materials License which allows the administration of its own radiation safety program, as determined by a Radiation Safety Committee (RSC), provided that program meets or exceeds Maine state regulations (10-144A CMR 220 and 22 MRSA 677).

# 3. Radiation Safety Committee

The BLOS Radiation Safety Committee creates policy and regulates the acquisition and use of radioactive materials and radiation-containing machines within the terms of the license.

# 4. Radiation Safety Officer

The Radiation Safety Officer (RSO) is responsible for ensuring safe working conditions regarding the use of radioactive materials. The RSO is also required to make sure all license conditions are followed and to enforce policy in accordance with directives from the RSC. The ultimate goal is to protect radiation related research by maintaining the integrity of the license and addressing radiation related safety issues. The RSO is empowered to immediately terminate any unsafe condition or activity found to be a threat to public health and safety of property, and confiscate all radioactive materials if there is evidence of gross negligence by laboratory personnel.

# 5. Radiation Use Authorization

Persons planning to use radioactive materials at BLOS must submit a Radiation Use Plan (RUP) to the Radiation Safety Committee (RSC). The plan describes to the RSC the isotopes and quantity of radioactive materials required for a specific project. If approved, the RUP limits users to the type and quantity of radioactive material requested and where that material may be used. The RUP directs the SRS to adhere to specific responsibilities as required by the committee.  RUP requests must be made at least 30 days in advance of work for on-site activities, at least 45 days in advance for off-site work.

# 6. Senior Research Scientists (named licensees)

The Senior Research Scientists (SRS) are ultimately responsible for all safety issues within the laboratory. They are responsible for performing corrective action to resolve problems noted by the Radiation Safety Officer or the Radiation Safety Committee. By signing the Radiation Use Plan (RUP), the SRS agrees to comply with the radiation safety policy and any special provision noted on the RUP.

# 7. Radiation Workers (authorized users)

Approval to become a radiation worker results from recommendation of the SRS and completion of training in basic radiation safety administered by the RSO at BLOS. Radiation workers are expected to conduct themselves in a professional manner and to keep their exposure to radiation as low as reasonably achievable (ALARA). They are obligated to report radiation safety concerns to their direct supervisor and the RSO. While using radioactive materials, radiation workers are required to follow the directives in the Radiation Use Plan and the Radiation Safety Policy Manual. Minors will not be allowed to work with radioactive materials. Visitors will not be allowed to work with radioisotopes or enter radiation areas without specific authorization from the RSO. Visitors with authorization and training may work only under supervision and authority of a licensed SRS.

# 8. Security

All radioactive materials obtained under a Radiation Use Plan or under authority of the Radioactive Materials License must be locked or secured from unauthorized removal at all times. Usually the presence of an authorized user in the radiation area who can prevent the unauthorized removal of radioactive material is sufficient security.

# 9. Dosimeter

External

Monitoring devices for assessing a person’s external occupational dose from ionizing radiation are called dosimeters.  Exposure to the radioisotopes used at BLOS is so low as to be un-recordable by standard dosimeters, so they are not in regular use here.  However, should conditions change, dosimeters will be provided at the discretion of the RSO/RSC or if the likelihood exists that a radiation worker could receive 10% of prescribed occupational limits. Dosimeters will be required for Ca-45 and S-35 work.

Internal Dose

To evaluate dose resulting from an intake of radioactive material, the amount of material and the approximate time of the intake must be considered. A bioassay must be done to measure the quantity of radioactive material taken up by the body. Bioassays will be done on individuals who will work with Tritium (H-3). Depending on the radioisotope and mode of intake (e.g., inhalation vs. ingestion), the amount of activity determined from bioassay data is directly proportional to the dose received by particular organs or to the entire body. Types of bioassays which may be performed are whole body counting, thyroid counting or urine bioassays. For Tritium, a urine bioassay should be performed.

# 10. Pregnancy

Female radiation workers who are pregnant have the option to inform the RSO of their pregnancy. If a worker declares her pregnancy in writing, the RSO must evaluate work practices and make reasonable recommendations in accordance with ALARA. The dose limit for the fetus from occupational sources is 500 mrem (one-tenth of the permissible dose to the mother) over the 9 months gestation period. The declaration of pregnancy is confidential.

# 11. Shipping and Receiving

All radioactive materials, with the exception of smoke detectors and self luminous signs shall be received by the Radiation Safety Officer. The RSO is required to inspect all radioactive material shipped to BLOS property as specified in BLOS’s radioactive materials license. The packages are checked for physical integrity, surface contamination and compliance with shipping regulations and intended use. A record of the receipt will be made and the package will be distributed to the authorized user. In the event a package containing radioactive material is delivered directly to the lab from a courier, please notify RSO immediately in order to comply with the required inspection.

The regulations for shipping radioactive material are, at best, confusing. Please notify the RSO in the event you intend to ship radioactive material. Proper documentation, labeling, and packaging are important to avoid regulatory problems. Advance notice must be made when intending to ship radioactive material. The term radioactive material applies not only to radioactive solutions or samples but also to items which may be inadvertently contaminated such as refrigerators or centrifuges. Any item which leaves the BLOS property is considered shipping.

# 12. Sealed Sources

Bigelow possesses a General License from the State of Maine for equipment containing sealed sources of radioactive material. Typically these are gas chromatographs whose sealed radioactive source is incorporated in an electron capture detector. The RSO maintains an inventory record of sealed sources at BLOS. This inventory is reported annually to the State prior to renewal of the General License. Any purchase or transfer of a sealed source must be authorized by the RSO, as well as any change in location.

Sealed sources must be leak tested by the responsible user every 6 months and test records maintained by the RSO. Tests are performed with kits supplied by the RSO. They are then sent to an approved testing lab for analysis.

## IV.  Work Practices

# 1. ALARA

It is the responsibility of every radiation worker to keep their exposure to radiation As Low As Reasonably Achievable or ALARA. Three ways to reduce your exposure are time, distance and shielding. Minimize your time in areas where exposure levels are likely to exceed background. Maximize your distance from sources of radiation. Exposure levels from x or gamma ray sources are reduced inversely, proportional with the square of the distance. Doubling your distance will reduce the exposure rate to 1 fourth (X = 1/D2). Remember to use shielding which is appropriate for the type of radiation.  Note: It is important to keep in mind that time, distance and shielding all work together to reduce your exposure, but depending on the situation, one method may be more practical and effective than another.

# 2. Signs and Labels

All entries to areas where radioactive materials are approved to be used or stored are posted with signs stating “Radiation Area”, "Caution Radioactive Materials" and displaying the radiation emblem. Access to radiation areas is limited to authorized, trained persons. Adhesive tape imprinted with the words "radioactive material" is used to denote work spaces or items which currently are contaminated with radioactive materials.  Do not use radioactive labels on non-radioactive materials!

# 3. Personal Protective Equipment (PPE)

Whenever working with loose radioactive material, you are required to wear disposable gloves. The benefit of gloves as contamination control apparel is defeated as soon as you handle any clean item with contaminated gloves. Gloves should never be worn while handling items expected to be clean. Wearing sandals or open toed shoes is always discouraged. Your feet should be covered to prevent skin contamination from spills or splashes. Lab coats are strongly recommended, for similar reasons. Discard contaminated coats and gloves as radioactive waste.

It may be advisable to wear goggles for certain procedures.  When in doubt, check with the RSO.

Proper fitting PPE should be provided by the SRS.

# 4. Process Areas

It is prudent practice to restrict the dispensation and manipulation of loose radioactive materials to as few locations within the lab as possible. The process areas should have laminated absorbent paper on the lab bench to insulate the surface from contamination and limit the spread of spills. Trays should also be used to help contain any spills.  The area should be identified as a process area by defining the perimeter with caution tape or other obvious indication. Clear definition of the process area is useful in determining where clean items such as notebooks may be placed. Items which are expected to be clean should never be within the process area. Although the process area is where you would expect to find radioactivity, perpetual contamination is not allowed.

# 5. Monitoring

Post procedure monitoring is required of radiation workers following the completion of a procedure with loose radioactive materials. With the exception of tritium, a portable instrument may be used to check for contamination however with Carbon-14 it is best to do wipe surveys. It is the responsibility of each radiation worker to perform decontamination when contamination is found. Wipe tests of the surface should be taken to determine if the contamination has been removed.  Monthly wipe tests performed by the RSO should not replace daily care by radiation workers.

# 6. Detectors

When using a Geiger counter or other count rate instruments, it is important to remember it can not be used to quantify the amount of radioactive material, but simply to establish the presence of it. Its function is to count ionization events and it is calibrated for count rate measurements. The count rate observed, usually expressed in counts per minute (CPM), will always be less than the actual emission or disintegration rate of the material. The ratio of count rate observed to disintegration rate of the material is the efficiency of the instrument for that isotope. The efficiency of the instrument to detect the presence of radiation varies with the type of radiation and its energy. The efficiency of a portable count rate instrument will never approach 100%. The table below lists commonly used radioisotopes at BLOS and their approximate detection efficiencies.

Detector Efficiency = CPM/DPM x 100 (Expressed as a percentage)

| Isotope | Geiger Counter Efficiency |
| --- | --- |
| H-3 | N/A |
| C-14 | 5% |
| S-35 | 5% |
| Ca-45 | 20% |

Conventional portable instruments are incapable of detecting the presence of tritium.

If a procedure involves the use of tritium, wipe tests must be taken of the area to determine the presence of loose contamination. The wipes must be evaluated using a liquid scintillation counter (LSC).

Before using a contamination monitor, make sure that there is a current calibration sticker and that the batteries are good. Take note of the background count rate before proceeding. When scanning surfaces, the instrument should be set to the lowest counting scale possible. Typically, for Geiger counters, the background rate varies between 20 and 80 counts per minute. The probe should be held close to the surface being checked but not in contact with it. Move the probe slowly to check other areas of interest, no faster than 2 inches per second. Areas which have a count rate twice the background rate should be considered contaminated and cleaned. When contamination is discovered it should be cleaned up immediately and rechecked.

# 7. Inventory of Radioactive Material

Inventory logs must be maintained by authorized users of all radioactive material received at BLOS. The RSO will provide an inventory form with the receipt date, isotope, activity and chemical form stated on it as well as a unique assigned ampoule number for mandatory inventory reference. Each removal of radioactive material from the stock container must be indicated by noting the date of removal, the activity removed and the initials of the person removing the material. If volumetric units are used to track usage, the concentration (activity per unit volume) must be indicated. The records must be legible and clearly comprehended by persons not affiliated with the lab. Records must be maintained by the user and any completed inventory forms must be returned to the RSO.

## V.  Waste Management

# 1. General

Containers for storage of radioactive waste will be provided by Radiation Safety Officer.

The laboratory must segregate radioactive waste by half-life, chemical and physical form. Short-lived isotopes (e.g. 35S) require their own waste container. Longer-lived materials such as 3H and 14C may be combined in the same container.

The radioisotopes in each container must be specified on either the affixed tag or label before depositing as waste. A reasonable estimation of the activity must be made for each radioisotope before discarding. Do not attempt to estimate the activity of any waste using a Geiger counter. You should either make a reasonable estimate from the use log maintained in the lab or, in the case of liquid waste, sample the waste and count on a liquid scintillation counter. This data can be used to calculate activity for the entire jug. In addition, the name of the SRS and the date the activity was estimated must also be indicated on the tag.

Only the RSO may decide which wastes may be stored for decay. This is currently limited by our Materials License to Sulfur-35 only.

# 2. Solid Radioactive Waste

No pourable liquids are allowed. All liquid must be decanted into a container provided by the RSO. Gels may be placed in the solid waste box.

Do not place contaminated lead, biohazardous or infectious materials in the solid waste. Any radioactive biohazards or infectious radioactive waste must be killed prior to inclusion in the waste containers. Biohazard insignias must be defaced before discarding.

All solid wastes should be compacted prior to placement in the waste barrels.  Use only the compactor in the Radiation Lab for compacting radioactive wastes.

Empty liquid scintillation vials may be placed in solid waste. Radioactive sharps (e.g., needles, blades, or Pasteur pipettes) should be segregated in some type of container before inclusion in solid waste.

# 3. Liquid Radioactive Waste

Segregation by isotope should be done in the same manner as solid waste (e.g. keep 35S separate.  3H and 14C may be combined). Under no circumstances may radioactive liquids be disposed of in a sink.

Containers for liquid waste must be kept closed when not in use.

Radioactive solutions which are organic (e.g., ether, xylene, toluene, hexane, alcohol etc.) should to be segregated in a separate container. The chemical constituents and their relative percentages by volume must be identified on the waste tag for the purposes of safe disposal.

Scintillation vials containing biodegradable cocktails (e.g. Ecolume or similar) should be accumulated separately from those containing organic cocktails.

# 4. Mixed Hazardous and Radioactive Waste

It is Bigelow’s policy to avoid generating this type of waste due to difficulties with disposal. Workers should be aware of this when planning proposed work. The RSO should be consulted if there is any question regarding generation of this type of waste.

## VI.  Incident Response

# 1. Spills

In the event radioactive liquid is spilled, the following steps should be taken in the following order:

a. Isolate the spill if possible. If an absorbent media (paper towels, etc.) is available, use it to limit the spread of the spill.

b. Announce to any other personnel in the area that a spill has occurred and to avoid the area. Do not leave the lab unless absolutely necessary. The types and quantities of radioactive material used at BLOS do not warrant an immediate evacuation due to a spill. It is important to ensure that personnel and their shoes are free of contamination prior to leaving the lab.

c. Contact The Radiation Safety Officer. There is never any punitive action for reporting spills. It is important that safety personnel are notified in order to assess the extent of the spill or to assist in the cleanup. If the spill occurs in the evening or on a weekend, contact the RSO and/or Safety Officer at home (#s are posted by the telephone). In addition, there are emergency phone numbers posted at the door leading into radioisotope laboratory.

d. If advised by safety personnel to clean the spill, start from the perimeter of the spill area and work toward the center to limit the spread of the spill. Remember to wear your lab coat and disposable gloves. It may be necessary to enlist the help of a coworker to obtain supplies located outside the spill area to keep personnel involved in decontamination to a minimum.

Whenever you find contamination in an area where you don’t expect it or if contamination is pervasive, contact the Radiation Safety Officer.

# 2. Personnel Contamination

If your skin becomes contaminated wash the affected area immediately. Conventional soap and water is preferable for skin decontamination. The water temperature should be tepid to prevent the pores of your skin from either opening or closing, impeding decontamination efforts.

If your lab coat or clothing becomes contaminated, remove it immediately and place the item in a bag for disposal or decay as determined by the RSO. The bag should be labeled with the date, the activity if known, and the isotope. Under no circumstances should you take contaminated apparel away from the lab for laundering.

## VII. Radioisotope Use At Sea

Bigelow Laboratory’s Materials license permits the use of radioactive materials on research vessels in coastal Maine waters. Use must be authorized and approved by the RSC/RSO. An RUP must be submitted by the SRS at least 45 days prior to departure for approval. The RSO must contact the operator or home institution of the vessel and establish an agreement for the use of radioisotopes on their ship. These arrangements include scheduling, work plan, shipping of materials, safety procedures and testing for contamination, and waste handling. This agreement must be finalized before the RUP can be approved. Upon approval, the RSO will give the SRS a Bigelow Laboratory Shipboard Isotope form that must be filled out. A copy of this form will accompany the persons performing the work on the vessel and must be completed and signed by the worker, the operator of the vessel and/or the RSO of the vessel’s home institution and Bigelow’s RSO.

Note that fees may be charged by another institution for waste disposal and that overboard discharge of waste is prohibited by law.

For work outside the region of jurisdiction of our license, the RSO must first determine the proper jurisdiction, contact the proper authorities for approval and, if necessary, apply for reciprocity to the NRC. The current (2006) fee for this process is $1800 for 180 days of use or storage per calendar year.