Bigelow Laboratory Radiation Safety Policy and Procedures

Adopted 1 November 2006

Updated 29 April 2019

Table of Contents

Chapter 1: Introduction	1

Chapter 2: Administration and Responsibilities	1

A. Bigelow Laboratory for Ocean Sciences Responsibilities	1

B. The Radiation Safety Committee (RSC)	1

C. The Radiation Safety Officer (RSO)	2

D. The Researcher (Senior Research Scientist, SRS)	2

E. The Individual User	2

Chapter 3: License Requirements and Administrative Control	3

A. General Information	3

B. Authorized Users	3

C. As Low as Reasonably Achievable	3

D. Radiation Use Plans (RUP)	3

E. Radiation Use Plan Amendments and Termination	4

Chapter 4: Dosimetry	5

A. General Information	5

B. Regulatory Limits	5

C. Monitoring for External Radiation	5

D. Monitoring Internal Exposure to Radiation	6

E. Means of Controlling Radiation Exposure	6

F. Prenatal Radiation Exposure	8

Chapter 5: Training	10

A. General Information	10

B. Initial Use Radiation Safety Training	10

C. Radiation Safety Annual Retraining	10

D. Radiation Awareness Training for Other Laboratory Workers	10

E.  Radiation Training for Visitors	10

F.  Radiation Training for Service Workers	11

Chapter 6: Radioactive Materials Control	11

A. General Information	11

B. Procurement of Radioactive Materials	11

C. Transfer of Radioactive Material	11

D. Radioactive Material Inventory	11

E. Posting and Labeling	12

F. Contamination Control / Monitoring	12

G. Storage and Security of Radioactive Material	13

H. Equipment Leaving Radiation Areas	13

I. Use of Radioisotopes on Research Vessels	14

Chaper 7:  Radiation-Containing Equipment (sealed sources)	14

Chapter 8: Radioactive Waste	15

A. Types of Waste	15

B. Responsibilities for Waste Management	15

C. Radioactive Waste Procedures	16

Chapter 9: Emergency Procedures	17

A. Emergency Information (also posted in Radiation Lab)	17

B. General Response Procedures	17

C.	Emergency Response to Specific Cases	18

Chapter 10: Technical Data on Common Radioisotopes	19

Chapter 11: How Do I . . . ?	22

Appendix 1: Definitions and Acronyms	24

Appendix 2: Operational Reminders	28

# Chapter 1: Introduction

Bigelow Laboratory for Ocean Sciences (BLOS) is responsible for maintaining a Radiation Safety Program for the safe use of radioactive material and radiation containing machines. The Radiation Safety Policy and Procedures Manual (RSM) is a formal statement of policy and procedures approved by the Radiation Safety Committee and is incorporated within the radioactive materials license. The purpose of this manual is to provide information and establish general uniform procedures on the proper use and handling of radioactive material. If there are questions regarding this manual’s contents, the Radiation Safety Officer (RSO) should be consulted for further explanation or additional information.

Each Senior Research Scientist (SRS) authorized for radiation work has been issued a copy of this manual. The manual should be used as a guide to supplement precautions for the specific work authorized on their Radiation Use Plan (RUP). The manual should be accessible to all authorized users. Updates to the manual will be distributed by the RSO and will be accompanied by a list of all revisions and changes to date to ensure each authorized user has the latest information.

# Chapter 2: Administration and Responsibilities

## A. Bigelow Laboratory for Ocean Sciences Responsibilities

It is the policy of Bigelow Laboratory for Ocean Sciences that all necessary provisions will be made to facilitate the safe handling of radioisotopes and radiation-containing machines, and that all operations will be conducted in such a manner to maintain exposure As Low As Reasonably Achievable (ALARA).

Bigelow Laboratory’s use of radioactive materials is authorized by License issued by the State of Maine Department of Human Services (DHS). The State of Maine regulates the use of radioactive materials through 22 MRSA §677, and 10-144A CMR 220. All users of radiation at this facility should understand and shall adhere to this policy and regulations.

## B. The Radiation Safety Committee (RSC)

The Radiation Safety Committee is established as a requirement of our Radioactive Materials License. The RSC is responsible for the use of radioactive materials at Bigelow Laboratory and shall be the reviewing and authorizing agent for the use of all radiation at this facility. It shall set policy and establish the rules and regulations to be carried out by the Radiation Safety Officer. The committee, in accordance with the President/CEO, has the authority to suspend or revoke any authorization for the use of radioactive materials.  The chair of the RSC, who is elected by its members, shall be a person other than the Radiation Safety Officer. The chair shall convene the committee as often as is necessary to consider all aspects pertinent to Radiation Safety, no less than four times per year.

The committee shall consist of the RSO and at least 2 other members who are knowledgeable in the field of radiation safety and/or named licensees at the laboratory. Appointments to this committee shall be made by the BLOS President/CEO.

## C. The Radiation Safety Officer (RSO)

The Radiation Safety Officer is responsible for the general administration of the radiation safety program through the authority of the Radiation Safety Committee. The RSO is responsible for implementing all Radiation Safety Committee policies and procedures, and ensuring compliance with state and federal regulations. The RSO has the authority to terminate immediately any project or activity deemed a hazard to the health and safety of the worker, laboratory community or members of the public. The RSO is also responsible for the surveillance of all uses of radioisotopes and radiation-containing machines and for providing consultation and radiation safety services in conformance with policies and standards set forth in this manual, governmental regulations, license conditions and federal radiation protection standards.

Absence of the RSO from the lab for a period of greater than 5 days requires that all other radiation users be notified and that a substitute be designated from the list of named licensees.

## D. The Researcher (Senior Research Scientist, SRS)

Each SRS authorized to supervise the use of radioisotopes is specifically named on our materials license. The SRS is ultimately responsible for safety in their work space. In addition to assuming all the responsibilities of an individual radiation user, the SRS is responsible for compliance with federal and state regulations, BLOS policies, and his/her Radiation Use Plan as it pertains to use of radioisotopes and radiation-containing machines.

Specific responsibilities include, but are not limited to:

- Ensuring that all personnel who have access to ionizing radiation sources under their authorization are properly instructed in the safe use of radioisotopes and radiation containing machines as described in Chapter 5 of this manual.

- Ensuring that only work authorized by their Radiation Use Plan (RUP) is performed in approved locations.

- Providing procedures for radioisotope work and/or radiation containing machines that may be reviewed by personnel in the laboratory including emergency procedures specific to the workers operations, and procedures for waste handling. These procedures should emphasize the principles of ALARA.

- Maintaining accurate and current records of radioisotope inventories and having these records available for review by the RSO, RSC and regulatory agencies.

- Ensuring that radiation hazards, storage containers and equipment are properly labeled.

- Providing personal protective equipment (PPE) for laboratory workers.

## E. The Individual User

Any person authorized to use radioactive material at BLOS is responsible for using that material in accordance with BLOS policy, state and federal requirements and in a manner as to not jeopardize the health and safety of others. The individual user shall:

- Keep exposure as low as reasonably achievable (ALARA).

- Maintain good housekeeping habits in the laboratory.

- Monitor work area prior to and immediately after working with unsealed radioisotopes. Any contaminated items must remain in the laboratory.

- Dispose of radioactive waste in accordance with BLOS policy.

- Report details of any spill or accident involving radioactivity immediately to the Radiation Safety Officer.

- Label, segregate and secure radioactive materials, equipment and waste.

- Prevent unauthorized access to where radioactive materials are stored while unattended by an authorized radiation worker.

- Not smoke, or consume food or beverages in any areas where radioactive material is used.

- Wear all PPE (personal protective equipment) as directed by the RUP.

# Chapter 3: License Requirements and Administrative Control

## A. General Information

Bigelow Laboratory for Ocean Sciences possesses a Limited Radioactive Materials License issued by the State of Maine Department of Human Services, Division of Health and Engineering, Radiation Control Program in agreement with Federal Law under the U.S. Department of Energy, Nuclear Regulatory Commission. The license describes the materials that may be used, locations for use, and who may use these materials.

The radioactive materials license requires the laboratory to have a Radiation Safety Committee comprised of personnel who are knowledgeable in the use of radiation and radioactive materials. The committee develops laboratory policy concerning radiation safety which is enforced the Radiation Safety Officer.  This policy is, by law, part of the provisions of the license.  The Radiation Safety Committee approves any changes to policy, which become amendments to the license. Copies of the license are available for review from the Radiation Safety Officer.

## B. Authorized Users

Only persons specifically named on the BLOS license or working under the supervision or authority of the licensees will be allowed to work in or enter radiation areas or work with radioactive materials. All individuals working with radioisotopes must have proper training and be authorized by the RSO. Visitors must have training and authorization from the RSO before entering the Radiation Lab or working with radioactive material. Visitors may work with radioactive material under the authority and supervision of a named licensee. No minors will be allowed to work with radioactive materials.

## C. As Low as Reasonably Achievable

Good radiological practices are not new objectives. The 10 CFR 20 requires licensees to establish and maintain ALARA programs. It is the policy of this Laboratory that all necessary provisions will be made to facilitate the safe handling of radioisotopes, and that all operations will be conducted in such a manner that radiation exposures will be kept at levels that are both a small fraction of the allowable limits and As Low As Reasonably Achievable (ALARA).

## D. Radiation Use Plans (RUP)

Senior Research Scientists (SRSs) who plan to work with radioactive materials must submit a completed Radiation Use Plan form to the Radiation Safety Committee. These forms may be obtained from the RSO, and should be submitted no less than 30 days prior to intended use for on-campus work, no less than 45 day prior to intended use for off-campus work (including at sea).

The RSO will review the form for completeness and applicability with license conditions. The form will be presented to the Radiation Safety Committee for final review. The committee will consider the following items in its final evaluation for approval of a Radiation Use Plan. The form shall contain the following information:

- Proposed Radionuclides

- Training and Experience of SRS

- Laboratory Facilities

- Proposed Procedures

- Waste Streams and Effluents

- Safety Equipment

- Personnel to be involved

- Operator of research vessel (if applicable)

- Areas of operation (if applicable)

Upon approval by the RSC, the RSO will finalize the RUP detailing use and storage locations, radioisotopes, radiological precautions, and monitoring. The RUP must be signed by the SRS, Radiation Safety Officer and the RSC Chair. A copy of the RUP will be returned to the SRS. The original will be filed in the RSO office.

The RUP process is summarized as follows:

- Obtain a RUP form from RSO.

- Complete the forms with significant detail and clarity and return to the RSO.

- RSO will review forms for completeness and submit to RSC.

- RSC will review the documentation and approve or deny the application.

- A finalized RUP form will be generated for approved applications and those denied will receive notification of reasons why the application was denied.   Denial may be appealed to the RSC and BLOS President/CEO.

- A copy of the RUP should be retained by the SRS and the original filed at the RSO office.

Training will be provided to the appropriate staff by the RSO and must be renewed annually.

Visiting scientists wishing to use radioisotopes must submit an RUP which will require approval prior to beginning any work at BLOS.  See Chapter 5-E for further information.

## E. Radiation Use Plan Amendments and Termination

Amendments

The SRS should submit requests for amendments to Radiation Use Plans to the RSO in writing or by electronic mail. The proposal is reviewed by the RSO to determine if the amendment requires RSC approval. (Similar procedures for moderate increases in activity are approved by the RSC Chair and the RSO.) If the RSC Chair and RSO approve the proposal, it is presented to the RSC during the next meeting as an informational item. Any committee member may bring the item up for action by the committee if safety concerns exist. Amendments requiring RSC approval are presented during the next committee meeting where a majority vote grants amendment approval.

Termination of Radiation Use Authorization (named Licensees):

- Any authorized user found to be willfully and/or negligently violating any federal, state, or BLOS regulations governing the use of radioactive material or radiation-containing machines will have their authorization suspended or revoked by the Radiation Safety Officer, with the concurrence of the Radiation Safety Committee. All radioisotopes or radiation-containing machines will be impounded.

- Termination of Authorization for use of radiation will ordinarily be at the request of the SRS. This request should be sent to the Radiation Safety Officer in writing or by electronic mail.

- Upon termination of the Radiation Use Authorization, all radioisotopes shall be accounted for to the Radiation Safety Officer and the user’s name removed from the materials license.

# Chapter 4: Dosimetry

## A. General Information

Personnel who use radioactive material and radiation-containing machines at Bigelow Laboratory generally do not require monitoring in accordance with state and federal regulations. These regulations, as stated in 22 MRSA 677, 10-144A CMR 220 and 10 CFR 20, require monitoring for persons who are likely to receive in excess of 10% of the annual dose limit. Historically, the doses received by personnel at Bigelow Labs are well below reporting levels. However, the Laboratory has set its own criteria for monitoring in order to assess health physics practices in accordance with its ALARA policy.

## B. Regulatory Limits

- The annual limit is the more-limiting of either:

  - The total effective dose equivalent being equal to 5 rems (0.05 Sv); or

  - The sum of the deep-dose equivalent and the committed dose equivalent to any individual organ or tissue other than the lens of the eye being equal to 50 rems (0.5 Sv).

- The annual limits to the lens of the eye, to the skin, and to the extremities are:

  - An eye dose equivalent limit of 15 rems (0.15 Sv).

  - Shallow dose equivalent of 50 rems (0.5 Sv) to the skin or to any extremity.

  - Radiation dose to a minor (under the age of 18) shall be 10% of the above limits

  - Radiation dose to a pregnant woman is also 10% of the above limits.

## C. Monitoring for External Radiation

If the RSO determines that monitoring external radiation is appropriate, dosimeters will be issued to the involved personnel. Anyone working with S-35 or Ca-45 will be issued personal dosimeters.

- Types of Dosimeters

Film badge or TDL (thermoluminescent) dosimeters are at present the most accurate methods of recording exposure to low-energy radioactive particles.  The RSO may issue these badges to evaluate whole-body exposure.

- Issuing Dosimetry 
Dosimeter badges provide legal records of radiation dose. Therefore, it is imperative that they only be used as prescribed. They must be worn at all times while working with radionuclides. NEVER wear another person’s dosimeter. Each dosimeter assigned to an individual is tracked by the social security number. The RSO shall exchange badges on a scheduled basis. They must be stored in a designated location within the radiation laboratory away from radiation sources and protected from heat, moisture, or contamination.

- Positioning 
The dosimeter badge should be worn in the middle of the whole body or as close as practical.

- Records and Prior Exposure 
The RSO maintains any dosimetry records for the laboratory as required by regulatory agencies. Monitored personnel may obtain records of their dose history by submitting a signed request to the Radiation Safety Officer.

Any personnel requiring dosimetry will be required to complete an "Occupational Radiation Exposure History Request" form indicating all locations where previous occupational radiation exposures may have occurred. A letter will be sent to the indicated facilities requesting exposure history with the signed consent of the employee. A reasonable effort will be made to obtain prior lifetime exposure levels.

## D. Monitoring Internal Exposure to Radiation

1.  Bioassays for Tritium 
Any individual who introduces into a physical or chemical process at any one time a quantity of tritium that meets or exceeds the quantities listed below must be monitored.

Prior to use the individual should have a baseline bioassay. If laboratory monitoring results indicate the potential for internal contamination, the RSO shall require monitoring.

| Radioactivity Levels for Tritium Requiring Bioassay |  |  |  |
| --- | --- | --- | --- |
| Process Area | Condition A | Condition B | Condition C |
| Open room or bench top | 10 mCi | 10 Ci | 1 mCi/kg |
| Fume hood | 0.1 Ci | 100 Ci | 10 mCi/kg |
| Glove box | 1 Ci | 1 kCi | 0.1 Ci/kg |

Condition A – HTO (tritium oxide) and tritiated organics including DNA precursors
Condition B - Tritium gas in sealed process vessels
Condition C - HTO mixed with more than 10 kg of inert H20 or other material

Note: 	For declared pregnant workers these values are divided by 10. 
	For routine bioassay program the values are multiplied by 10.

2.  Radioactivity Levels for Other Radionuclides Requiring Bioassays

Radionuclides such as S-35, and C-14 historically do not warrant bioassays. An evaluation will be performed during requests for RUPs or RUP amendments.

## E. Means of Controlling Radiation Exposure

- General Policy 
It is the policy of the laboratory that all necessary provisions will be made to facilitate the safe handling of radioisotopes and radiation-containing machines, and that all operations will be conducted in such a manner as to maintain exposure As Low As Reasonably Achievable (ALARA). 
These policies as prescribed by the Radiation Safety Committee are maintained in this manual with additional precautions and conditions specific to the site listed on the RUP.

- Controlling External Exposure 
There are three general principles for reducing personnel dose from external sources of radiation. These are time, distance and shielding. Typically, more than one of these principles will be applied for reducing dose. Careful evaluation of the anticipated work may dictate which principles will be most effective. For example, shielding will reduce exposure, however excessive shielding may prolong the time an individual spends working with the material resulting in a larger dose. Always bear in mind all three principles when working with radioactive material.

  - Time 
Reducing the time you spend handling radioactive materials reduces the dose proportionally. Have your protocol posted or available during the procedure and perform "dry runs" with non-radioactive material during preplanning evaluation of radiation exposure. For all new work, an estimation of radiation dose is a fundamental aspect of good health physics practices.

  - Distance 
Increasing the distance from the source is frequently the most effective and economical means to reduce radiation exposure from penetrating radiation. The radiation field varies inversely with the square of the distance.  Radioactive material should never be handled with bare fingers.

  - Shielding 
Appropriate shielding of the source may be used in conjunction with time and distance to reduce exposure to levels which are ALARA. 
Beta radiation of significant energy (> 1 MeV) can be shielded by using a solid material such as Lucite (acrylic polymer) to absorb the radiation. Beta radiation produces penetrating x rays, called Bremsstrahlung radiation, when it strikes materials of high atomic number. The intensity of Bremsstrahlung radiation varies directly with the square of the energy of the beta radiation and the average atomic number of the shielding material. For this reason, low atomic number materials such as Lucite or glass should be used for shielding beta radiation. When working with energetic beta emitters, care must be taken to avoid exposing hands to unshielded material

- Controlling Internal Exposure 
Internal deposition of radioisotopes is a direct result of mishandling radioactive material. Properly written procedures, evaluation of potential hazards, performing dry runs, and personnel protective equipment all contribute to reducing the potential for dose from internally deposited radioisotopes. Time, distance and shielding are not viable methods for protection when the source of radiation is incorporated into the body. The pathways for radioactive material to enter the body are: inhalation, ingestion, injection or absorption through the skin. Potential exposure pathways at BLOS that require safety evaluations are inhalation and ingestion. Absorption, generally observed with tritium, requires its own engineering controls.

Common sense and proper contamination control procedures will prevent ingestion or inhalation of radioactive material in most cases. A common rule for contamination control is "clean to clean" and "hot to hot." In other words, if you are wearing gloves to prevent your hands from being contaminated, only touch those items which are likely to be contaminated or may be contaminated. Only touch clean items if you have verified with an instrument that your gloves are clean.

- General Laboratory Safety Rules

  - No individual is to work with radioactive materials or radiation sources without prior knowledge and understanding of the possible exposure to be incurred and the means available to control exposure as defined by the BLOS ALARA policy.

  - Eating and drinking and food containers are prohibited in areas where radioactive materials are stored or used. Smoking is prohibited in all laboratory buildings.

  - Protective gloves and laboratory coats are required for all operations involving radioisotopes in the laboratory. Goggles may be required if deemed necessary.

  - There shall be no mouth-pipetting of any materials in a Radiation area.

  - All work surfaces should be lined with absorbent paper.

  - A catch pan or secondary container of non-breakable material must be used under any vessel or equipment which may leak, burst or spill radioactive material.

  - Laboratory personnel should monitor themselves and their work-areas for contamination before leaving the lab space. Individuals are expected to clean up after themselves, but the RSO must be notified immediately of any contaminated areas so corrective action can be taken.

  - Operations with radioactive material which could lead to production of aerosols are to be performed in the certified fume hood.

  - No materials or equipment may be removed from posted radiation areas without the authorization of the RSO.  There should be no non-essentials brought into radiation areas.

  - All primary containers in which radioactive materials are used or stored shall be labeled in accordance with Chapter 6 of this manual.

  - All radioactive material must be stored in secure, approved containers in the Radiation Lab.

  - Radioactive material being transferred between adjacent rooms shall be sealed and carried in an appropriate secondary container.  All transfers of radioactive material off campus shall be handled through the RSO.  .

  - Return radioactive material and radiation sources to proper, secured storage when not in use.

  - All equipment that comes in contact with radioisotopes shall be labeled with radioactive marker tape.  This tape shall be removed when the equipment is known to be non-radioactive.

  - Questions regarding any of the above procedures should be addressed to the RSO.

## F. Prenatal Radiation Exposure

- General Information 
Employers of radiation workers shall provide instruction on risks from exposure to radiation. Of special interest is the potential exposure of women workers of child bearing age and risks to the unborn child. Children are more sensitive to radiation than adults. The unborn are generally more sensitive than children, especially during the first trimester. Therefore, the acceptable dose limits are lower than for adults.

The 10-144A CMR 220, "Rules Relating to Radiation Protection" requires that the dose to an embryo/fetus during the entire pregnancy from occupational exposure of a declared pregnant woman does not exceed 5mSv (0.5rem). The 10-144A CMFR 220 also requires the licensee to make efforts to avoid substantial variation above a uniform monthly exposure to a declared pregnant woman that would satisfy the 5mSv (0.5rem) limit.

Bigelow Laboratory adheres to the recommendations of the National Council for Radiation Protection (NCRP) through compliance with the 10-144A CMR 220. During the gestation period, the maximum permissible dose equivalent to the fetus from exposure to the declared pregnant worker shall not exceed 5mSv (0.5rem).

During initial training of occupational radiation workers, the Laboratory's policy is presented and the risks are reviewed. It is very important for the worker to disclose her condition confidentially, whether fact or suspicion, at the earliest possible time to ensure that proper action may be taken.

- Disclosure Declaration
Once a pregnancy has been disclosed by a radiation worker to the Radiation Safety Officer or supervisor, the RSO and worker are responsible to ensure the fetus does not receive more than the allowable limits described above. The worker may wish not to declare pregnancy (in writing) and is then subject to the dose restrictions of all occupational radiation workers. The following facts may aid in the decision to declare pregnancy and assess work conditions:

  - The first trimester of pregnancy is when the fetus is most susceptible to risks from exposure. The decision should be made early.

  - Due to body shielding, the actual dose received by the unborn child will be less than that to the woman in most situations. At BLOS, most occupational exposures are well below the limits recommended for prenatal exposure.

  - The dose to the unborn child can be reduced by decreasing the amount of time spent with radiation, by increasing the distance from the sources and/or shielding the sources from the abdominal area.

  - A pregnant worker may request reassignment to a location where exposure is significantly less or at background levels.

  - When occupational dose is below the five rem a year limit, the risk to the unborn child is small compared to other day-to-day risks to the unborn. Experts disagree on the exact amount of risk.

  - There is no need to be concerned about sterility (loss of the ability to conceive children). The radiation dose required to produce sterility is more than 100 times greater than the basic dose limit for adult workers of 50mSv (5rem) per year.

- Once pregnancy is declared in writing by the worker, the Radiation Safety Officer will initiate the following steps:

  - The individual’s workload and schedule will be reviewed to evaluate exposures or procedures where the potential exists for radiation exposure.

  - If exposure is estimated to meet or exceed 1mSv (0.1rem), monitoring must be initiated.  A dosimeter will be issued in addition to any other standard monitoring that may be done. The dosimeter will be worn at the abdomen and processed monthly.

  - If the integrated dosimeter reading at the abdomen is greater than 0.05 rem (50mrem) during any one month, the workload and procedures will receive a critical review to reduce exposures. When calculated dose to the fetus totals 0.5 rem (500 mrem), a transfer to another work area or leave is mandatory and the individual shall not use radioactive materials until completion of the gestation period.

# Chapter 5: Training

## A. General Information

Training is an essential element for establishing sound health physics practices when using radioactive materials or radiation-containing machines. Training is required by regulatory agencies and should be commensurate with associated risk. The BLOS training program is included in the radioactive materials license and is, therefore, required by law.

## B. Initial Use Radiation Safety Training

It is mandatory that all personnel, including Senior Research Scientists (SRSs) and Visiting Scientists, receive training prior to use of radioactive material or radiation-containing machines at Bigelow Laboratory. The Radiation Safety Officer will either schedule a training seminar or provide individual training.

New laboratory personnel shall receive an orientation by the SRS or laboratory supervisor prior to receiving training from RSO. Once the new employee has received an orientation to the laboratory and become familiar with the Radiation Safety Manual, he/she will be given radiation safety training and an exam. Use of radioactive material will be approved with a score of 70% and above. Those who fail the exam will be given additional instruction and a chance to retake the exam.

Individuals planning to use radiation-containing machines will receive initial use radiation safety training specific to those machines.

## C. Radiation Safety Annual Retraining

Individuals who have received initial use radiation safety training and continue to work with radiation after a period of one year are required to participate in annual retraining. All radiation workers and licensees are required to read the "Radiation Safety Annual Retraining" manual, and sign the retraining signature form.

The Radiation Safety Committee may require attendance at a radiation safety seminar for annual retraining or successful completion of an exam. Computer Based Training (CBT) may also be an option.

## D. Radiation Awareness Training for Other Laboratory Workers

Bigelow Laboratory shall provide radiation awareness training to laboratory workers who do not use radioactive materials. This training should cover identification of radiation areas, labeling, posting, and safety procedures. Emphasis will be placed on security and control of radioactive material.

## E.  Radiation Training for Visitors

Visitors may enter radiation areas at BLOS only under the following circumstances:

  - Approval of the RSO;

  - Be over 18 years of age;

  - Be accompanied by a named licensee;

Visitors may work with radioisotopes at BLOS only under the following circumstances:

  - Approval of the RSO;

  - Submission and approval of a Radiation Use Plan (RUP) or supervision by a named licensee;

  - Receipt of training specific to BLOS radioisotope use policies and practices.

Visitors may bring radioisotopes to BLOS only with permission of the RSO and RSC and may be assessed a waste disposal fee.

## F.  Radiation Training for Service Workers

Maintenance personnel or outside service workers shall be allowed to work in radiation areas only after approval, safety training and supervision by the RSO.  Regular radioisotope work shall be suspended during periods of maintenance, service or repair work.  Everyday maintenance shall be performed by the RSO with the aid of the authorized users, if necessary.

# Chapter 6: Radioactive Materials Control

## A. General Information

Radioactive materials are used in research at Bigelow Laboratory. Proper control of radioactive materials is essential for keeping doses to staff, guests and the general public ALARA. This philosophy at the state and federal levels has led to adoption of strict regulations regarding the procurement of radioactive materials, possession limits, receipt procedures, and tracking the material from production to disposal.

The policies set forth in this chapter provide guidance for Bigelow Laboratory personnel to acquire, use, store, and dispose of radioactive material in a safe and legal manner.

## B. Procurement of Radioactive Materials

Authorized SRSs may procure radioactive materials only by contacting the RSO. Purchase requisitions that exceed license limits or request radioactive material not previously approved by the RSC will not be processed. If requisition items are approved, the materials will be ordered by the RSO.

The RSO will record the purchase on a Radioactive Materials Accounting Form which will be kept permanently on file. An assigned ampoule number will be recorded on the form to cross reference the material for use and inventory control.

All radioisotopes must be delivered directly to the Radiation Safety Officer. The RSO must inspect every package for leakage or damage and perform a wipe test prior to releasing it to the SRS.  Storage of radioisotopes at BLOS is limited to specified secured refrigerators and freezers in the Radiation Lab.

If a package containing radioactive material is delivered directly to the laboratory, the Radiation Safety Officer must be notified immediately.  The RSO will retrieve the package and perform the required inspections.

Note that purchase of scintillation cocktail must also be made through the RSO.  A disposal fee will be charged to each purchase of cocktail.

## C. Transfer of Radioactive Material

Transfers of radioactive material between licensees within the laboratory shall require prior approval from the RSO.  This is necessary for inventory control.  Any transfers of radioactive material to off-campus locations, including to research vessels, must be made through the RSO and conform to all DOT and state regulations.

## D. Radioactive Material Inventory

State and federal regulations require that a complete and accurate inventory be maintained of all radioactive material. The Radiation Safety Officer maintains an inventory by recording all incoming shipments of radioisotopes and the waste generated by each user.  Before releasing any new deliveries of radioisotopes, the RSO assigns the material (ampoule) an identifying number and begins a Log Sheet.  These forms are then passed to the SRS. The Log or a copy of it should remain in the lab. The Log provides a record of the use of the material and must be updated by the user with each use. When the material is used up or is to be disposed of, the Log should be signed and returned to the RSO.

The RSO will perform an inventory twice a year or as otherwise necessary and maintain updated records. All purchases, accounting sheets, and individual log sheets will be permanently kept on file. The inventory is categorized as the total radioactive material inventory, each individual isotope, and waste. Each isotope aliquot purchased, used and disposed of is tracked by the assigned ampoule number.

Special “Shipboard Isotope Use Forms” are required for radioisotope work done at sea.  See section 6-I  for details.

## E. Posting and Labeling

Posting of signs, caution/warning signs, labels and so forth are used to advise personnel of potential hazards with respect to radiation and radioactive materials. The international radiation symbol, warning signs, labels and other such items shall be used only to provide information and warnings to personnel. Any other use is prohibited.

1. Radioactive Materials Posting

a) An area that contains non-sealed-source radioactive materials shall be posted with a sign bearing the radiation symbol and the words "Caution Radioactive Materials" or "Danger Radioactive Materials” and “Authorized Personnel Only.”

b) Containers of radioactive materials must be identified by a label, tape or tag. At a minimum, the words "Radioactive Material" shall be used. The container must be labeled or have written on the container tag the radionuclide(s) and quantity of material in curies or sub units, or becquerels, in addition to the words "Radioactive Material."

c) Designated process areas inside laboratories where radioactive materials are used should be delineated by yellow tape with the words "Radioactive Materials," "Caution Radioactive Materials," "Danger Radioactive Materials," "Contamination" or "Contaminated Area" or tape with yellow and magenta alternating stripes. Tape may have the radiation symbol but it is not required.  Equipment that has come in contact with radioactive materials must be similarly designated.

2. Radiation Areas / Facilities

a) A radiation area is defined as a room or area where radioactive materials may be used in un-sealed forms.  At Bigelow Laboratory, un-sealed radioisotopes may be used only within the “Radiation Laboratory” located on the first floor of the Building B, or, with approval of all involved institutions, aboard a ship at sea.  The BLOS Radiation Laboratory is equipped with a 250 cfm fume hood, liquid scintillation counter, work space, facilities for washing, secure isotope storage, waste handling, and storage space for materials used exclusively for radioisotope work.

b) The radiation area shall be posted with a sign bearing the radiation symbol and the words "Caution Radiation Area, Authorized Personnel Only."

## F. Contamination Control / Monitoring

Good laboratory practices, proper monitoring, and pre-planning are essential tools for contamination control and preventing unnecessary exposures to laboratory personnel. The ALARA policy ensures that exposures to personnel are low and that general laboratory procedures include prudent health physics practices.

In addition to monthly scheduled monitoring performed by the RSO, each individual user is expected to control contamination levels in their work areas. Surveys and monitoring should be done during and following experimental procedures that involve radioactive material. The intent of surveys is to assure timely detection of contamination and prevent the spread of radioactive material throughout the laboratory.

The individual user should verify that the survey instruments have a current calibration sticker. Instrument calibrations are maintained by the RSO.

The individual users should survey themselves, their laboratory coats and process areas at the end of the day and before leaving a radiation area. Other items in the laboratory to be surveyed include work surfaces, equipment, floors, door handles, telephones, refrigerators and freezers, drawer handles and frequently used notebooks.

When using any portable survey instrument, it is important to follow these general guidelines:

- Use an instrument which is designed for the specific radiation emission (e.g. GM for beta emitters). Note: GM detectors cannot be used for tritium; the beta particle will not penetrate the detector window. For tritium, a wipe should be taken and counted in a LSC.

- Check the battery and verify calibration prior to performing the survey. Set the instrument to the lowest scale.

- Note the background count rate or exposure rate in a known low background area prior to performing the survey. If background appears too high (general background for a GM is 75 to 125 cpm), contact the RSO.

- While performing the survey, hold the detector as close as possible to the area being surveyed, moving across the surface at a speed of approximately 2 inches per second.

- Surveyed areas or equipment which exhibit a count rate greater than twice the background count rate are considered contaminated and should be decontaminated. No equipment should remain contaminated.

- If count rate causes the needle to read full scale, adjust scales as necessary to permit a valid reading. Adjusting scales has no bearing on detector sensitivity.

Effective monitoring includes direct measurement using the appropriate instrument and taking wipe samples (Whatman filter papers or equivalent) to be counted with a liquid scintillation counter for removable contamination. Documentation of monthly surveys performed by the RSO are maintained for formal records.  Any sample exceeding 150 DPM needs to be cleaned, but any sample over 200 DPM requires cleaning and re-testing. Additionally, air-flow is monitored monthly and air samples tested annually to assure the exposure is ALARA.

## G. Storage and Security of Radioactive Material

Radioactive material used or stored in laboratory areas shall be secured from unauthorized access or removal, or shall have constant surveillance by authorized personnel (persons who have received radiation safety training and are considered occupational radiation workers). Laboratory areas posted with "Caution Radioactive Material" signs must be secured or the radioactive materials themselves be secured whenever a radiation worker is not present.

Any loss of radioactive material shall be immediately reported to the RSO and SRS.

## H. Equipment Leaving Radiation Areas

Laboratory equipment used with radioactive materials or in radioactive areas is potentially contaminated. If it must be removed from the process area or controlled area for maintenance, repairs, calibration or other disposition, the equipment is subject to the following procedures:

- The item should be thoroughly cleaned and all unassociated material removed (for example: labware and chemicals found in refrigerators, freezers, fume hoods, etc.).

- The item must be thoroughly surveyed using the appropriate survey meter and by taking wipes to be counted on a liquid scintillation counter. The RSO must be presented with test results and approve removal of each item

- Once the item is free of detectable activity, all radioactive labels and postings must be removed. If you are unable to remove the contamination or label, contact the RSO for assistance.

## I. Use of Radioisotopes on Research Vessels

The use of radioactive materials on research vessels is allowed by the BLOS materials license. However, it may only be undertaken with the approval of all institutions involved.  The license governing a ship’s activities may supersede, in part, the BLOS license. The RSOs of the involved institutions will determine proper jurisdiction prior to approval of any isotope work. It may be necessary to apply to the NRC for reciprocity involving work outside the jurisdiction of the State of Maine. In general, all BLOS safety and handling procedures should be followed.

The following authorizing procedures will apply:

- Radioactive material use must be approved in writing by the RSO(s) and vessel operator.

- An RUP must be submitted to the RSO no less than 45 days in advance of any planned work on a vessel.

- A BLOS Shipboard Isotope Use Form (available from the RSO) must be completed before departure and submitted to the RSO upon return.

- Wipe tests must be performed on the ship before any work begins and after work is completed. Any contaminated areas shall be cleaned and retested. Reports of these wipe tests must be submitted to the BLOS RSO as well as to shipboard Radiation Safety personnel.

- The disposition of any radioactive wastes must be determined before work is begun.  It may either be returned to BLOS or accepted by the vessel’s institution.  Under no circumstances may it be disposed of at sea or elsewhere in transit to or from the ship.

- Pre-arrangements must be made involving any transfer or transportation of materials between Bigelow, the research vessel and/or its home institution. In general the RSO will arrange to have materials to be used at sea shipped directly from the supplier or manufacturer to the ship or its home institution. The RSO’s of the two institutions will determine the appropriate details for these transfers.

# Chaper 7:  Radiation-Containing Equipment (sealed sources)

10-144A CMR 220, part D16 describes requirements for sealed source testing. Equipment containing sealed sources will be surveyed for contamination in accordance with the survey frequencies and contamination levels published in Appendix Q to NUREG-1556, vol 7, “Program Specific Guidance About Academic, Research and Development, and Other Licenses of Limited Scope,” dated December 1999.  Leak tests will be performed at the intervals (6 months) approved by the NRC or by the State of Maine and specified in the SSD Registration Certificates.  Leak tests will be performed using leak test kits supplied by an organization authorized by the NRC or State of Maine, to provide such kits to other licensees, or by an authorized testing organization, and according to the sealed source manufacturer’s and kit supplier’s instructions.

# Chapter 8: Radioactive Waste

## A. Types of Waste

- Dry Waste 
Dry radioactive waste includes dry solid materials, dehydrated biological materials, and contaminated papers, glassware, plastics, gloves, or apparel.  This material is to be compacted with a mechanical compactor in the Radiation Lab before transfer to designated metal drums.  To help minimize waste volume, packing materials for new equipment should be removed before entering the radiation area.

- Liquid Waste 
Liquid radioactive waste includes liquid radioactive materials, solutions, contaminated rinses, and suspensions of microorganisms. Liquid wastes are further categorized as aqueous and non-aqueous and should be collected separately.

  - Aqueous wastes are those which are readily soluble or dispersible in water.

  - Non-aqueous wastes are those liquids which are not readily soluble or dispersible in water and should include any organic solution which can be segregated from the aqueous waste stream. These include liquids such as organic-based liquid scintillation fluids such as Toluene or Xylene.

NO LIQUID WASTES MAY BE DISPOSED OF IN THE SINK.

- Scintillation Vials 
At this time, BLOS uses exclusively non-toxic, biodegradable scintillation cocktails.  Use of any other cocktails must be approved with the RSO.   Vials should be placed in designated drums for collection.  Avoid any breakage.

- Mixed Hazardous and Radioactive Waste.						It is the policy of Bigelow Laboratory to avoid generating this type of waste due to the problem of disposal. See the RSO before beginning any work that may potentially generate this mixed hazardous waste.

## B. Responsibilities for Waste Management

- The Radiation Safety Committee is responsible for:

  - Developing policy and procedures for safe storage, collection, and processing of radioactive waste.

2.  The Radiation Safety Officer is responsible for:

  - Managing the disposal of waste in accordance with the terms and conditions of the laboratory's Radioactive Materials License.

  - Providing the state with annual low-level waste reports, copies to remain on file.

  - Contracting with a licensed radiation waste broker for removal of wastes.

3. Authorized SRSs and users are responsible for:

  - Collecting all radioactive waste resulting from activities under their direction in accordance with this manual.

  - Accurately estimating waste activity (see Chapter 11, section D).

  - Performing appropriate segregation of waste as directed by this manual or the Radiation Safety Officer.

  - Labeling waste as required by local, state and federal regulations.

## C. Radioactive Waste Procedures

1.	General

  - Radioactive wastes must be segregated by half-life. Short-lived isotopes such as S-35 require individual waste containers. Longer-lived materials such as H-3 and C-14 may be combined in the same container as long as their activities are listed separately.

  - Appropriate consideration should be given regarding potential for exposure. Exposure rate is particularly important when working with high energy beta emitting isotopes. An effort should always be made to keep radiation exposures as low as reasonably achievable (ALARA).

  - The radioisotopes in each container must be specified on either the tag or label. A reasonable estimation of the activity must be made for each radioisotope prior to removal by RSO. A Geiger counter should not be used to estimate the activity of wastes. A reasonable estimate may be made from the use log maintained in the laboratory. In the case of liquid waste, waste can be sampled and counted on a liquid scintillation counter. This data can be used to calculate activity for the entire container.

2.	Dry Radioactive Waste

  - Containers for dry radioactive waste may be provided by the RSO. All waste containers must be identified with the radiation symbol, the words "CAUTION--RADIOACTIVE MATERIAL" and the radioisotope(s).

  - No pourable liquids are allowed in dry waste container. All liquid must be decanted. Gels may be placed in the dry waste box.

  - Do not place lead, animal tissue, chemical, or biohazardous materials in dry waste containers. Any radioactive biohazard waste must be disinfected prior to inclusion in a waste container. All biohazard insignias must be defaced before placing in the waste container. If disinfection is not available, the packaged biological material must be immediately frozen and stored in a freezer until collected by the RSO.

  - All radioactive sharps (e.g., needles, blades, or Pasteur pipettes) must be segregated and secured in a rigid side, puncture proof container prior to their inclusion in the dry waste container.

  - All dry waste materials should be mechanically compacted using the compactor in the Radiation Lab before inclusion into designated waste containers.

3.	Liquid Radioactive Waste (not scintillation vials)

  - Liquid radioactive waste should be retained only in receptacles provided by Radiation Safety Officer. The container will typically be a plastic jug.

  - Do not put pipettes, pipette tips, vials, sharps, or filters in the waste jug, only liquids.

  - Isotopes should be segregated in the same manner as dry waste.

  - Radioactive solvents which are organic and not readily dispersible in water (e.g., ether, xylene, toluene, hexane) need to be segregated in separate containers. (The container should be compatible with the waste material.)

  - Do not overfill the container. Generally, do not fill beyond 3/4 full. Notify the RSO for a waste removal when approaching this capacity. Use appropriate pre-planning to ensure sufficient container space is available before starting a procedure.

  - Make sure that an attached tag is completed detailing the isotope, activity, chemical form, and name of scientist and date it was filled.

4.	Scintillation Vials

  - Only nontoxic, biodegradable scintillation cocktails are used at BLOS at this time. (e.g. Ecolume and like).  Organic cocktails must be approved by the RSO before use and may not be accumulated with vials of nontoxic cocktails.

  - Place tightly capped vials in designated drums in the Radiation Lab, segregated by isotope (14C and 3H may be collected together). Avoid any breakage.

  - Do record the average activity and number of vials being deposited in waste.

All wastes will be disposed of through a professionally licensed and authorized radioactive waste broker.

# Chapter 9: Emergency Procedures

## A. Emergency Information (also posted in Radiation Lab)

Police - Fire – Emergency………….911

Radiation Safety Officer……….207-315-2567 x105 (business hours*)

207-380-5983 (home)

Safety Officer……………………..207-315-2567 x502 (business hours*)

207-633-3809 (home)

(*Business Hours: Monday through Friday, 8 a.m. - 4:30 p.m.)

## B. General Response Procedures

In radiation emergencies, personnel protection and lifesaving measures must be addressed first; radiological procedures are secondary. In any emergency, guidelines are used with discretion as circumstances and common sense dictate. Analyze the situation before taking action. All radiation incidents should be reported to the Radiation Safety Officer (RSO).

If a spill has occurred involving radioactive material, the following steps should be performed:

- Isolate the spill if possible 
Use paper towels or other disposable, compatible material to limit the spread of the spill. For dry material and powders, use caution to prevent material from becoming airborne. Place dampened absorbent material over the contaminated area.

- Notify others in the area that a spill has occurred. Identify what has been spilled. Do not leave the lab unless necessary. 

Informing others in the lab about a spill reduces the potential for tracking contamination. A reasonable distance should be maintained in order to avoid possible spots of contamination outside the apparent perimeter of the spill.

The type and quantity of radioactive materials used at Bigelow Lab would not warrant evacuation of the lab unless the spill involves the dispersal of chemical hazards. Personnel should be monitored for contamination prior to leaving the lab.

- Contact the Radiation Safety Officer and/or Safety Officer. 
It is imperative to contact the RSO in the event of a spill. Depending on the nature of the incident, it may be necessary to perform a bioassay to detect any uptake of radioactive material by personnel. 

It is in your best interest to report spills when they occur. If outside normal business hours, contact the RSO and/or Safety Officer at the numbers listed above. Other emergency phone numbers are posted on the Radiation Laboratory door.

- Perform decontamination if advised. 
If advised by RSO to clean up the spill, remember to put on your PPE, e.g., a lab coat and gloves and dosimeter, if appropriate. Start cleaning the spill area from the perimeter working carefully toward the center. Be careful not to spread contamination. If a commercial decontamination solution is not available, soap and water will be sufficient. Try not to dilute the spill. Double bag all cleanup materials.

- Monitor the area for any remaining contamination
The area should be monitored for residual contamination in the same manner as the routine post-procedure monitoring done in the lab. Use the appropriate detection equipment. Refer to Chapter 11 of this manual or consult the RSO if you are unsure of the proper monitoring techniques.

## C.	Emergency Response to Specific Cases

    - If you suspect that a person has been contaminated with radioactive material, take the following steps:

a). Wash the affected area immediately. 
Go to the nearest sink or emergency shower and cleanse the area of contamination with soap and tepid water for fifteen minutes. Any clothing that is suspected of contamination or is an impediment to decontamination should be removed. Do not hesitate to enlist the help of a coworker. The sooner skin decontamination is performed, the easier and more successful it is. The use of abrasives is not recommended or required.

b). Contact the RSO and/or Safety Officer. Do not leave the lab unless necessary.

The RSO must be contacted in the event any person becomes contaminated with radioactive material. The extent of contamination must be established to ensure that decontamination efforts are adequate. The victim should not be engaged in activities other than decontamination until the situation can be assessed by the RSO.

If outside normal business hours, other emergency phone numbers are posted on the exterior of the laboratory door.

    - If a sealed source has ruptured or there is an airborne release of radioactive material take the following precautions:

      - Do not attempt to clean the area.

      - Close all windows, leave the room and lock the door. Turn off any ventilation systems.

      - Keep non-emergency personnel from entering the room and all persons involved in the incident in a contained area outside the room until monitoring can be performed. If contaminated, follow decontamination procedures. Do not leave until approval is given by the Radiation Safety Officer.

  - Things You Can Do to Help Prevent an Incident:

    - Periodically discuss laboratory safety and contamination control during your laboratory meetings.

    - Review the operational reminders in the "How to" section of this manual (Chapter 11).

    - Periodically perform a safety survey of your work area to identify possible safety concerns. Correct those you identify.

    - Routinely inspect any safety or measurement equipment in the lab.

    - Be cognizant of potential hazards in the laboratory and make sure they are appropriately labeled or remediated.

    - Have a designated location for this manual and any other safety reference material.

    - Maintain a spill response kit in each work area (and for work on research vessels). The radiation kit should include the following recommended items:

      - Decontamination solution

      - Trash bags

      - Shoe covers

      - Contamination wipes

      - Disposable towels

      - Box of disposable gloves

      - Tape

      - Marking pen

# Chapter 10: Technical Data on Common Radioisotopes

A. Tritium (3H)

Hydrogen (3H) is a radioisotope which emits very low energy beta particles as it decays. It is commonly used as a radiotracer in life sciences research as a result of the abundance of hydrogen in molecules of biological importance.

Physical Data

3H decays to He-3 (which is a noble gas) by beta emission

Half-life = 12.3 years

Maximum beta energy (Emax) = 0.0186 MeV

Average beta energy (Eavg) = 0.0057 MeV

Maximum range in air = Approximately 0.152 inches (0.387 cm)

Maximum range in tissue = Approximately 2.0x10-4 inches (5.0x10-4 cm)

Metabolic Data

The fate of 3H taken into the body is influenced primarily by the type of molecule on which it is attached and the route of entry into the body. The 3H may be inhaled, ingested or absorbed through the skin as 3H2O, or it may be ingested as labeled organic compounds. For radiation protection purposes, it is estimated that essentially all of inhaled 3H (in the form T20) is absorbed by the lungs, and all of the 3H (T20) entering the GI tract is absorbed by body fluids. When tritium enters through the lungs or GI tract, maximum blood concentrations are reached within two hours. Of the 3H absorbed from the lungs or through the GI tract, about 99 % is eliminated with a relatively short biological half-life (ICRP 30) of about 10 days. 3H labeled DNA (in most cases thymidine) shows a much longer biological half-life. Some studies have shown that if 3H-thymidine is injected, approximately 50% will be incorporated into cellular DNA. If 3H-thymidine is ingested, approximately 10% will be incorporated into cellular DNA. Since DNA is a relatively stable molecule and numerous DNA "salvage" pathways exist, the estimated biological half-life for tritium labeled nucleotides is on the order of 50 times that measured for T20.

There is concern that 3H on labeled DNA or DNA precursors may pose special problems because of the location of the radioactive atom on sensitive molecules within the cell nucleus (approximately 0.34 rad/cell-nucleus-decay). Transmutation events caused by the decay of Hydrogen-3 to Helium-3 could also have detrimental effects. This problem has been studied extensively and the findings indicate that the principal damage which results is caused by the radiation dose averaged throughout the tissue, not by localized effects.

Based on these metabolic data, and because there are no gamma rays emitted to facilitate in-vivo measurement, excreta measurements (urinalysis or fecal analysis) are the appropriate bioassay types for assessing intake and dose.

The Annual Limit of Intake (ALI) for occupationally exposed persons is 80 mCi for ingestion and inhalation of T2O.

Radiation Monitoring and Protection

Because of its weak beta emission, Hydrogen-3 is primarily an internal radiation hazard. TLDs are not effective for detecting 3H. Therefore, it is important to use careful handling and frequent monitoring. Taking wipe samples and counting in a liquid scintillation counter is necessary. Hydrogen-3 vessels can be handled directly with gloved hands since the dose rate outside the vessel is low.

B. Carbon-14 (14C)

Carbon-14 (14C) is a radioisotope which emits relatively low energy beta particles as it decays. It is commonly used as a radiotracer in life sciences research due to the abundance of carbon in molecules of biological importance.

Physical Data

14C decays to 14N (which is stable) by beta emission

Half-life = 5730 years

Maximum beta energy (Emax) = 0.156 MeV

Average beta energy (Eavg) = 0.05 MeV

Maximum range in air = Approximately 10 inches (25 cm)

Maximum range in tissue = Approximately 0.01 inches (0.025 cm)

Metabolic Data

The fate of 14C taken into the body is influenced primarily by the type of molecule on which it is attached and the route of entry into the body. The 14C may be inhaled as CO or CO2, or it may be ingested as labeled organic compounds. For radiation protection purposes, it is estimated that essentially all of inhaled 14C is absorbed by the lungs, and all of the 14C entering the GI tract is absorbed by body fluids. Of the 14C absorbed from the lungs or through the GI tract, about 99% is eliminated with a very short biological half-life (minutes to hours), while 1% is retained in soft tissue with a half-life of about 40 days.

Based on these metabolic data, and because there are no gamma rays emitted to facilitate in-vivo measurement, excreta measurements (urinalysis or fecal analysis) are the appropriate bioassay type for assessing intake and dose.

The Annual Limit of Intake (ALI) for occupationally exposed persons is 2.0 mCi for ingestion of labeled compounds, 2000 mCi for inhalation of CO and 200 mCi for inhalation of CO2.

Radiation Monitoring and Protection

Because of its relatively weak beta emission, Carbon-14 is primarily an internal radiation hazard. External dosimetry is not effective for detecting 14C. Therefore, it is important to use careful handling and frequent monitoring, either with survey meters with thin-window probes or by taking wipe samples and counting in a liquid scintillation counter. Carbon-14 vessels can usually be handled directly with gloved hands since the dose rate outside the vessel is low.

There is concern that 14C on labeled DNA or DNA precursors may pose special problems because of the location of the radioactive particle on sensitive molecules within the cell nucleus. Transmutation events, caused by the decay of carbon to nitrogen, could also have detrimental effects. This problem has been studied extensively, and the findings indicate that the principal damage which results is caused by the radiation dose averaged throughout the tissue, not by localized effects.

C. Sulfur-35 (35S)

Sulfur-35 is a radioisotope which emits relatively low energy beta particles as it decays. It is commonly used as a radiotracer in life sciences research, usually in the form of labeled amino acids or nucleotides.

Physical Data

35S decays to 35Cl (which is stable) by beta emission

Half-life of 87.2 days

Maximum beta energy (Emax) = 0.167 MeV

Average beta energy (Eavg) = 0.048 MeV

Maximum range in air = Approximately 11 inches

Metabolic Data

The fate of S-35 taken into the body depends primarily on the type of molecule on which it is attached. For radiation protection purposes, the following are usually assumed:

Inorganic compounds: About 80% of S-35 inorganic compounds entering the GI tract is absorbed by body fluids, while about 10% of the elemental form is absorbed. Of the S-35 absorbed by body fluids through the GI tract or from the lungs, about 20% is deposited in various soft tissues, while 80% goes directly to excreta. Of the amount retained, three-fourths is eliminated with a biological half-life of 20 days, while the remaining fourth is eliminated with a half-life of 2000 days. For inhalation cases, the retention of S-35 in the lungs ranges from days to weeks depending on the solubility of the compound.

Organic compounds: The metabolic behavior of organic compounds of sulfur differs considerably from that of inorganic forms of the element. Organic forms such as cysteine and methionine become incorporated into various metabolites. Thus, sulfur entering the body as an organic compound is often tenaciously retained. Little or no data is available on the specific retention and distribution pattern of S-35-labeled organic compounds.

Based on these metabolic data, and because there are no gamma rays emitted to facilitate in-vivo measurement, urinalysis is the appropriate bioassay type for assessing intake and dose.

The Annual Limit of Intake (ALI) for occupationally exposed persons ranges from about 2 mCi to 20 mCi depending on the chemical form and the route of entry into the body.

Radiation Monitoring and Protection

Because of its relatively weak beta emission, S-35 is primarily an internal radiation hazard. TLDs are not effective for detecting S-35. Therefore, it is important to use careful handling and frequent monitoring, either with survey meters with thin-window probes or by taking wipe samples and counting in a liquid scintillation counter.

Sulfur-35 vessels can usually be handled directly with latex gloved hands, since the dose rate outside the vessel (caused by brehmsstrahlung radiation) is low. Plastic gloves will not protect the hands from brehmsstrahlung radiation.

Solutions of S-35-labeled amino acids release a volatile radioactive component which can pose containment problems. The chemical identity of this volatile component is unknown, although SO2 and CH3SH are likely candidates. The volatile component appears to evolve as a result of chemical/physical breakdown, not metabolic activity. This volatilization can result in the contamination of incubators and their contents.

To prevent volatilized S-35 from entering the breathing zone, it is recommended that vials of S-35 amino acids be thawed in a fume hood using a needle through the rubber septum to vent the vial. Alternatively, a syringe packed with charcoal could be attached to such a needle. Incubators and related equipment should be checked frequently for contamination.

D. Calcium 45 (45Ca)

Calcium-45 is a radioisotope which emits relatively low energy beta particles as it decays. It is commonly used as a radiotracer in life sciences research, usually in the form of labeled carbonate.

Physical Data

45Ca decays to 40Ca (which is stable) by beta emission

Half-life of 163 days

Maximum beta energy (Emax) = 0.257 MeV

Maximum range in air = Approximately 20 inches

Metabolic Data

The fate of Ca-45 taken into the body depends  on the type of molecule on which it is attached.

The Annual Limit of Intake (ALI) for occupationally exposed persons is about 160 µCi.(based on ICRP)

Radiation Monitoring and Protection

Millicurie quantities of Ca-45 do not present significant external radiation hazard because the low energy betas emitted barely penetrate rubber gloves and the outer skin layer.

The dose rate to the basal cells of the skin from the deposition of one µCi per cm2 is 3200 mrads per hour.  Maximum ranges of these betas are 20 inches in air, 0.02 inches in plastic, and 0.009 inches in glass.

Because of its relatively weak beta emission, Ca-45 is primarily an internal radiation hazard. TLDs are not effective for detecting Ca-45. Therefore, it is important to use careful handling and frequent monitoring, either with survey meters with thin-window probes or by taking wipe samples and counting in a liquid scintillation counter.  Urine assays may be required following any contamination incidents.

Ca-45 vessels can usually be handled directly with latex gloved hands, since the dose rate outside the vessel (caused by brehmsstrahlung radiation) is low. Plastic gloves will not protect the hands from brehmsstrahlung radiation.

# Chapter 11: How Do I . . . ?

A. Get Training? 
All persons intending to use radioactive materials must obtain training from the Radiation Safety Officer prior to use. Contact the RSO to set up an appointment. Training can be performed on an individual basis as the need arises, or in groups. Prior to the training session, read the initial training document and the Radiation Safety Manual. All radiation use areas should have a copy of the current training document available. The training session takes approximately one hour. It is particularly important that you are familiar with the characteristics of the radiation or radioactive material you intend to use. If you have been previously monitored for occupational exposure to radiation, you may be asked to provide the location and time period when you worked with radioactivity. Even if you have worked with radiation before or have received training at another institution, you must receive training at BLOS prior to using radiation.

B. Amend or Terminate a Radiation Use Plan? 
Any proposed change to the conditions specified on the Radiation Use Plan must be submitted to the Radiation Safety Officer. If there is a significant change in the research protocol or procedure specified in the RUP application, an amendment is required. The most common items requiring amendment are changing the quantity, changes in chemical processes, or changes in use location. If the proposed change is relatively minor and does not involve a major change in protocol or location, the amendment process may take only a matter of hours. Significant changes in an RUP require approval by the Radiation Safety Committee. Advance notice is always helpful to avoid delays to research. Also refer to Chapter 3, Section F.

C. Maintain an Inventory of Radioactive Materials? 
A requirement of your Radiation Use Authorization is to maintain a current inventory of radioactive materials. As radioactive materials are received in the lab, records of inventory and records of receipt must be kept. Records must contain, at a minimum, the date the shipment was received, the shipment’s identifying number (issued by the RSO), the activity ordered and the name of the compound. In addition, as material is used the amount removed must also be noted to keep a running total of the amount of material available. The receipt/use log must be maintained in a clear and concise manner. The record of use must include the initials of the person removing the material and the activity removed.  Inventory log forms will be provided by the RSO.

D. Estimate the Activity in Radioactive Waste?
Each radiation worker is responsible for the management of waste prior to removal by the Radiation Safety Officer. This responsibility includes providing a reasonable estimation of the total activity in the waste container. For liquid waste, a sample of the waste may be taken and counted on a liquid scintillation counter. Using the efficiency of the detector for the radioisotope of interest, the activity of the sample can be calculated using the following formula.

- Counts per minute/Efficiency = Disintegrations per minute (DPM)

- DPM/2.2e+06 DPM/microcurie (uCi) = ? uCi in the sample

- uCi in the sample x (Total container volume/Sample volume) = Total activity (uCi)

Groups with good inventory records should be able to infer from the quantity of radioactivity received, the amount used, the amount in liquid waste and what the approximate activity is in the solid waste.

Another acceptable method for estimating the activity in waste is to keep a tally sheet for each waste container. As waste is deposited, an estimate of the activity is recorded. When the container is almost full, the amounts are summed and recorded as the total activity. Although waste should not be intentionally stored for decay in the lab, a decay correction may occasionally be required for short-lived materials.

Avoid using notations such as "less than" a certain activity. The amount of activity listed on the waste container dictates how the waste is processed. Therefore, it is important that the amount listed be a close approximation.
Never attempt to use a Geiger counter to quantify the activity in a waste container.

E. Perform Post-Procedure Monitoring? 
Contamination control is the responsibility of everyone who uses radioactive materials. Directly after performing a procedure using radioactive material, a survey must be done by laboratory personnel to detect the presence of radioactive contamination. The worker(s) is also responsible for performing decontamination as necessary. It is important that an instrument be used which is appropriate for the type of radiation. Laboratories using 35S or 14C may use a Geiger counter for detecting the presence of contamination. Keep in mind that the detection efficiency of a Geiger counter for low energy beta particles (e.g., 14C and 35S) may be less than 5%. Surveying for these radioisotopes should be supplemented by taking wipes and counting them for loose activity on a liquid scintillation counter (LSC). For labs using 3H, liquid scintillation counting is the only method to check for contamination.

F. Obtain Radioactive Material? 
Once a Radiation Use Plan has been authorized and posted in your laboratory, the SRS or designee may request the order of radioactive material from the RSO.  Only the RSO is authorized to place orders for radioactive materials.  If radioactive material is needed that is not in accordance with the RUP, an amendment will be required before the material will be ordered.  Note that some time may be required prior to delivery of isotopes due to various licensing requirements.  Requests should be made 30 days (for on-campus work) or 45 days (for off-campus work) ahead of intended use.

G. Ship Radioactive Material? 
Shipments of radioactive material or potentially contaminated items must conform with Department of Transportation (DOT) 49CFR, International Airline Transporters Association (IATA) and other requirements. To ensure that these requirements are met, contact the Radiation Safety Officer so that adequate packaging and documentation can be arranged. Once radioactive material has left the campus it is considered a shipment and must conform with all requirements.

Note that ALL radioactive shipments coming to Bigelow Laboratory must be received by the RSO and checked for contamination before they may be released to the owner.

H. Release Equipment Used to Process or Store Radioactive Material? 
Any piece of equipment used in conjunction with or to store radioactive material must be surveyed for “free release” prior to its relocation outside a radiation area. If an item is to be sent off site or repaired outside the laboratory environment, a survey must be done. Any sign indicating that radioactivity may be present must be removed after the survey confirms that no contamination exists. Common examples of this occurrence may be a centrifuge or pipette used with radioactivity or a refrigerator used to store radioactive material. Please contact the Radiation Safety Officer if something from your lab requires “free release”.

I. Get Dosimetry? 
Bigelow Laboratory has an obligation to provide personal radiation monitoring devices for occupationally exposed persons having the potential to obtain 10% of the occupational dose limits.  In general, radiation exposure from the isotopes in use at BLOS do not warrant dosimetry.  However, if in doubt, an evaluation will be performed of your intended use and the appropriate dosimetry will be issued. Under no circumstances may you perform work with radiation unless the Radiation Safety Officer has issued you dosimetry or determined that dosimetry is not warranted.

J. Get a Replacement for a Lost Dosimeter?
If your radiation dosimetry is lost or damaged, contact the Radiation Safety Officer immediately before continuing work with radiation. A replacement dosimeter will be issued and you will be asked to fill out a form regarding your use of radiation since the lost dosimeter was issued. Your dosimetry record is a permanent legal record of your radiation dose history. It is important for you to keep your record as accurate as possible by reporting lost or damaged dosimetry promptly.

# Appendix 1: Definitions and Acronyms

10 CFR 20

Refers to the Code of Federal Regulations, Title 10, Part 20, "Standards for Protection Against Radiation" .

10-144A CMR 220

Refers to the State of Maine Rules Relating to Radiation Protection.

Because the NRC made an arrangement with the State of Maine setting up regulations as exacting as Title 10-144A ch. 220, an "Agreement State" status was established which allows Maine to operate under its own guidelines.

49 CFR 172

Refers to the Department of Transportation regulations regarding the transportation of radioactive materials.

Absorbed Dose

The energy imparted by ionizing radiation per unit mass of irradiated material. The units of absorbed dose are the international unit gray (Gy) or the rad.

| Quantity | Name | Symbol | Units | Conversions |
| --- | --- | --- | --- | --- |
| Absorbed Dose | gray rad (old unit) | Gy rad | J Kg-1 100 ergs gram-1 | 1 Gy = 100 rads 1 cGy = 1 rad |

Activity

The rate of disintegration per second (dps), minute ( dpm) or decay of radioactive material. The units of activity are the international unit becquerel (Bq) or the curie (Ci).

| Quantity | Name | Symbol | Units | Conversions |
| --- | --- | --- | --- | --- |
| Activity | becquerel curie (old unit) | Bq Ci | dps 3.7 H 1010 Bq | 1 Ci = 3.7 x 1010 Bq |

Sub units of the curie are:

millicurie (mCi) = 3.7 H 107 dps

microcurie(µCi) = 3.7 H 104 dps

nanocurie (nCi) = 3.7 H 101 dps

picocurie (pCi) = 3.7 H 10-2 dps

ALARA

Acronym for As Low As Reasonably Achievable. Making every reasonable effort to maintain exposures to radiation as far below the dose limits as practical and consistent with the purpose for which the licensed activity is undertaken, taking into account the state of technology, the economics of improvements in relation to state of technology, the economics of improvements in relation to benefits to the public health and safety, and other societal and socioeconomic considerations.

Authorized User

An employee of Bigelow Laboratory specifically named on the Materials License to use radioactive materials OR an employee or visitor working under the supervision and authority of the above who has received authorization and training from Bigelow Laboratory in the use of radioactive materials

Bioassay

The determination of quantities or concentrations and, in some cases, the locations of radioactive material in the human body, whether by direct measurement (in vivo counting) or by analysis and evaluation of materials excreted or removed from the human body.

Bremsstrahlung

Photons emitted when charged particles decelerate or change direction when passing through matter.

Clean Area

An area within a laboratory that is designated for the consumption and/or storage of food and beverages. A clean area must be clearly separated from any hazardous material use and storage and be specifically approved by the Radiation Safety Officer and Safety Officer.

Contamination

Deposition of radioactive material in any place where it is not desired.

Controlled Area

A defined work area in which occupational exposure of workers to radiation or radioactive material is under the direct control of the Laboratory.

Curie

See "Activity."

Declared Pregnant Worker

A woman who has voluntarily informed her employer, in writing, of her pregnancy and the estimated date of conception for the purpose of monitoring the radiation dose to the fetus.

Deep Dose Equivalent (DDE)

External whole body exposure that is the dose equivalent at a tissue depth of 1 centimeter (1,000 mg/cm2).

DHS

Maine Department of Human Services, the state's licensing and regulatory agency.

Dose Equivalent

The product of the absorbed dose in tissue, quality factor (i.e., rad H Q = rem) or organ dose weighting factors (i.e., Gy H wT = Sv) and all the necessary modifying factors at the location of interest. The units of dose equivalent are the international unit sievert (Sv) or the rem.

| Quantity | Name | Symbol | Unit | Conversions |
| --- | --- | --- | --- | --- |
| Dose Equivalent | Sievert rem (old unit) | Sv rem | J Kg-1 10-2 Sv | 100 rem = 1 Sv 1 rem = 1 cSv |

Exposure

A measure of the ionization produced in air by X or gamma radiation. The sum of electric charges on all ions of one sign produced in air when all electrons liberated by photons in a volume of air are completely stopped in air, divided by the mass of the air in the volume. The units of exposure in air are the international unit coulomb per kilogram or the roentgen.

Eye Dose Equivalent (LDE)

External exposure of the lens of the eye that is the dose equivalent at a tissue depth of 0.3 centimeters (300 mg/cm2).

Half-life, Radioactive

The time required for a radioactive substance to lose 50% of its activity by decay. Each radionuclide has a unique half-life.

High Radiation Area

Any area accessible to individuals that radiation exists at levels such that an individual could receive, in any one hour, a dose equivalent in excess of 100 millirem (1.0 millisievert) at 30 centimeters from the radiation source or from any surface that the radiation penetrates.

Ionizing Radiation

Any electromagnetic or particulate radiation capable of producing ions directly or indirectly in its passage through matter. In general, refers to gamma rays and X-rays, alpha and beta particles, neutrons, protons, high speed electrons and other nuclear particles. Ionizing radiation does not include radiowaves or visible, infrared or ultra-violet light (i.e., non-ionizing radiation).

keV

A thousand electron volts.

LSC

Liquid scintillation counter.

Monitoring

Checking for the presence of sources of radiation under a specific set of conditions. Monitoring includes measuring levels of radiation fields and determining contamination levels. Monitoring is performed both for health protection and for protection of current and future research.

NRC

The U.S. Nuclear Regulatory Commission (NRC) is the primary federal agency charged with regulating the use of byproduct radioactive and special nuclear materials.

Occupational Dose

Occupational dose means the dose received by an employee:

1. In a restricted area or controlled area or;

2. In the course of employment, education, training or other activities that involved exposure to ionizing radiation.

Personnel Dosimetry

Devices that measure the cumulative dose of radiation to an individual. Types of dosimetry include film badges, thermoluminescent dosimeters (TLD), finger rings, and albedo-type for neutron measurements.

Radiation Area or Lab

An area accessible to individuals in which radiation exists at such levels that an individual could receive, in any one hour, a dose equivalent to the whole body in excess of 5 mrem (0.05 millisievert) at 30 centimeters from the radiation source or from any surface that the radiation penetrates. At Bigelow, the Radiation Lab is segregated and limited to exclusively the posted laboratory in the West end of the ground floor of the Biochemistry Building.

Radiation-Containing Machine

Any device containing a sealed-source of radioactive materials.

Radiation Safety Committee (RSC)

A committee consisting of Bigelow Laboratory staff which sets policy regarding use of radioactive material at BLOS consistent with the radioactive materials license.

Radiation Safety Officer (RSO)

The Radiation Safety Officer is responsible for operation of the radiation safety program and assuring that use of radioactive materials is in conformance with lab policies, licenses, and applicable regulations.

Radiation Use Plan (RUP)

A work plan submitted by the SRS for authorization by the Radiation Safety Committee for conducting research using specific radionuclides.

Radioactive Materials

Any material, solid, liquid or gas that emits ionizing radiation spontaneously.

Restricted Area

An area with access limited by radiation to protect individuals from undue risk from exposure to radiation and radioactive material. Any radiation area shall be considered a restricted area.

Roentgen (R)

A unit of exposure to ionizing radiation. The amount of gamma rays or X-rays required to produce ions carrying 1 electrostatic unit of electrical charge in 1 cubic centimeter of dry air under standard conditions. See "Exposure."

Roentgen Equivalent Man (rem)

The unit used to express human dose equivalence as a result of exposure to ionizing radiation. The relation of the rem to other dose units depends upon the biological effect of the radiation under consideration.

Shall

Used in laws, regulations or directives to express what is mandatory.

Shallow Dose Equivalent (SDE)

External exposure of the skin or an extremity that is the dose equivalent at a tissue depth of 0.007 centimeters (7 mg/cm2) averaged over an area of 1 square centimeter.

Somatic Effects of Radiation

Long-term effects of radiation to exposed individuals, such as cancer, as opposed to genetic effects to the next generation. Somatic effects may also apply to subsequent unexposed generations beyond the first generation.

Survey Meter

Any portable radiation detection instrument designed to determine the presence of radioactive materials and ionizing radiation fields. Survey meters are of two types:

- Count rate meters that detect only the presence of radioactive material. Under certain conditions, the survey meter's reading may be used to determine the exposure rate from a source of radioactive material.

- Dose rate meters used to evaluate the intensity of radiation fields in units such as rem per hour, millirem per hour or sievert per hour.

Unrestricted Area

Any area with access neither limited nor contained by the Laboratory for the purpose of protecting individuals from exposure to radiation and radioactive materials.

Wipe Test (Sample)

A test (sample) made to determine the presence of removable radioactive contamination on a surface. A piece of soft filter paper is wiped over 100 square centimeters of area surveyed and counted for radioactivity with an appropriate instrument.

# Appendix 2: Operational Reminders

Operation Reminders for the Use of Radioactive Material

- Radioactive material delivered to the lab:

  - If received direct (Fed. Express, etc.) contact the RSO.

- Prepare for use:

  - Process area prepared:

    - Absorbent paper on bench with perimeter defined with rad tape.

    - Containment tray to limit spills.

    - Other supplies and equipment directly related to initial process in area.

  - Extra gloves adjacent to process area.

  - Waste receptacles available with adequate space for anticipated waste volume.

  - Don protective apparel:

    - Lab coat (with dosimetry if applicable)

    - Gloves

    - Eye protection (optional depending on process)

  - Consider dry run.

  - Obtain stock radioactive material and immediately place in process area.

- Initiate use:

  - Aliquot required amount of stock and apply as necessary within process area.

  - Avoid moving any item to outside of the process area.

  - If procedure dictates that you move any item which is radioactive or potentially radioactive from the specific process area:

    - Make sure that the item is appropriately labeled as radioactive and the appropriate level of contamination control is established in the new use location.

    - Re-glove and continue process in a new area, if applicable.

    - When finished, remove and dispose of gloves and wash hands.

- Post-Procedure:

  - Survey area with portable instrument and/or wipes as appropriate (don’t forget to frisk your lab coat).

  - Decontaminate equipment or area as necessary.

  - Replace absorbent paper if contaminated.

  - Log in use of radioactive material on log sheet with date, activity used, initials and maintain running total.

  - Evaluate waste for removal.

- Final considerations:

  - Everything in the process area should be considered contaminated.

  - Everything outside the process area should be kept clean.

  - Plan ahead. Be systematic and organized.

  - Change gloves often when performing radioactive procedure to reduce spread of any contamination.